Hemp Proficiency Testing

All Labs Trueness OL23SEP-1 (oil)

Sample: OL23SEP-1 (oil)

All Labs Trueness

Issue Date:

November 2, 2023

| Analyte | Code | Method | Lab Num |  | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Δ9-THC (%AR) |  |  |  |  |  |  |  |  |  |  |
| Δ9-THC (%AR) | 001.30 | Other LC-MS |  | 102 | 0.029 | 0.029 | 0.026 | 0.028 | -4.07 | 0.075 | 20 | 0.0116 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 144 | 0.0475 | 0.0529 | 0.0503 | 0.0502 | -2.14 | 0.075 | 20 | 0.0116 | 0 |
| Δ9-THC (%AR) | 001.99 | Other |  | 183 | 0.051 | 0.0498 | 0.0532 | 0.0513 | -2.05 | 0.075 | 20 | 0.0116 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 192 | 0.0679 | 0.0647 | 0.0693 | 0.0673 | -0.66 | 0.075 | 20 | 0.0116 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 189 | 0.0716 | 0.069 | 0.0688 | 0.0698 | -0.45 | 0.075 | 20 | 0.0116 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 197 | 0.0712 | 0.0695 | 0.0702 | 0.0703 | -0.41 | 0.075 | 20 | 0.0116 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 196 | 0.0707 | 0.0673 | 0.0719 | 0.07 | -0.43 | 0.075 | 20 | 0.0116 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U |  | 103 | 0.0715 | 0.074 | 0.07 | 0.0718 | -0.27 | 0.075 | 20 | 0.0116 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 162 | 0.0651 | 0.074 | 0.0795 | 0.0729 | -0.18 | 0.075 | 20 | 0.0116 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS |  | 190 | 0.077 | 0.075 |  | 0.076 | 0.09 | 0.075 | 20 | 0.0116 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 184 | 0.0787 | 0.0756 | 0.073 | 0.0758 | 0.07 | 0.075 | 20 | 0.0116 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U |  | 125 | 0.0776 | 0.0725 | 0.0772 | 0.0758 | 0.07 | 0.075 | 20 | 0.0116 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U |  | 120 | 0.0796 | 0.083 | 0.0702 | 0.0776 | 0.23 | 0.075 | 20 | 0.0116 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS |  | 122 | 0.082 | 0.0802 | 0.0815 | 0.0812 | 0.54 | 0.075 | 20 | 0.0116 | 0 |

Population of Lab Values

| Analyte Code |  | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 149 | 0.079 | 0.079 | 0.088 | 0.082 | 0.61 | 0.075 | 20 | 0.0116 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 191 | 0.0813 | 0.0818 | 0.0816 | 0.0816 | 0.57 | 0.075 | 20 | 0.0116 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 199 | 0.0855 | 0.085 | 0.0845 | 0.085 | 0.87 | 0.075 | 20 | 0.0116 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 106 | 0.09 | 0.08 | 0.09 | 0.0867 | 1.01 | 0.075 | 20 | 0.0116 | 0 |
| Δ9-THC (%AR) | 001.03 | AOAC 2018.11, M | 139 | 0.0944 | 0.0869 | 0.0907 | 0.0907 | 1.36 | 0.075 | 20 | 0.0116 | 0 |
| Δ9-THC (%AR) | 001.99 | Other | 215 | 0.0857 | 0.0995 | 0.0999 | 0.095 | 1.74 | 0.075 | 20 | 0.0116 | 0 |
| Δ9-THC (%AR) | 001.60 | NIR | 187 | 1.29 |  |  | 1.29 |  |  |  |  | 1 |

Population of Lab Values

|  |  |  |  | Δ9-THCA (%AR) |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.99 | Other | 183 | <0.0002 <0.0002 <0.0002 | <0.0002 | 1 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 122 | <0.0010 <0.0010 <0.0010 | <0.0010 | 1 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 125 | <0.0100 <0.0100 <0.0082 | <0.0100 | 1 |
| Δ9-THCA (%AR) | 002.60 | NIR | 187 | <0.0100 | <0.0100 | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 162 | <0.0100 <0.0100 <0.0100 | <0.0100 | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 144 | <0.0100 <0.0100 <0.0100 | <0.0100 | 1 |
| Δ9-THCA (%AR) | 002.03 | AOAC 2018.11, M | 139 | <0.0125 <0.0125 <0.0125 | <0.0125 | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 197 | <0.0150 <0.0146 <0.0149 | <0.0150 | 1 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 199 | <0.0200 <0.0200 <0.0200 | <0.0200 | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 149 | <0.0200 <0.0200 <0.0200 | <0.0200 | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 196 | <0.0210 <0.0210 <0.0210 | <0.0210 | 1 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 120 | <0.0271 <0.0271 <0.0271 | <0.0271 | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 106 | <0.0300 <0.0300 <0.0300 | <0.0300 | 1 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score Rob Mean |  | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 170 | <0.0300 | <0.0300 | <0.0300 | <0.0300 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.99 | Other | 215 | <0.0500 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 190 | 0 | 0 |  | 0 |  |  |  |  | 2 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 102 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 191 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 189 | 0.003 | 0.0019 | 0.0025 | 0.0025 |  |  |  |  | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 192 | 0.0372 | 0 | 0.0308 | 0.034 |  |  |  |  | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 184 | 0.1694 | 0.1696 | 0.1683 | 0.169 |  |  |  |  | 0 |

Population of Lab Values

| CBD (%AR) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%AR) | 003.60 | NIR | 187 | 0.78 |  |  | 0.78 |  |  |  |  | 1 |
| CBD (%AR) | 003.10 | Other LC-UV | 189 | 1.9806 | 1.9703 | 1.9703 | 1.97 | -2.4 | 2.3545 | 19 | 0.1589 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 144 | 2.0253 | 2.0726 | 2.0308 | 2.04 | -1.96 | 2.3545 | 19 | 0.1589 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 170 | 2.1405 | 2.1596 | 2.1479 | 2.15 | -1.29 | 2.3545 | 19 | 0.1589 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 149 | 2.155 | 2.12 | 2.386 | 2.22 | -0.84 | 2.3545 | 19 | 0.1589 | 0 |
| CBD (%AR) | 003.99 | Other | 183 | 2.27 | 2.29 | 2.28 | 2.28 | -0.47 | 2.3545 | 19 | 0.1589 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 190 | 2.21 | 2.343 |  | 2.28 | -0.49 | 2.3545 | 19 | 0.1589 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 196 | 2.327 | 2.315 | 2.357 | 2.33 | -0.14 | 2.3545 | 19 | 0.1589 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 191 | 2.3353 | 2.3355 | 2.3354 | 2.34 | -0.12 | 2.3545 | 19 | 0.1589 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 192 | 2.5451 | 2.1927 | 2.2718 | 2.34 | -0.11 | 2.3545 | 19 | 0.1589 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 162 | 2.342 | 2.3393 | 2.3623 | 2.35 | -0.04 | 2.3545 | 19 | 0.1589 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 103 | 2.281 | 2.305 | 2.4705 | 2.35 | -0.01 | 2.3545 | 19 | 0.1589 | 0 |

Lab

Lab

Population of Lab Values

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | Value | Z score Rob Mean |  | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%AR) | 003.03 | AOAC 2018.11, M | 139 | 2.428 | 2.333 | 2.4367 | 2.4 | 0.28 | 2.3545 | 19 | 0.1589 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 106 | 2.43 | 2.42 | 2.45 | 2.43 | 0.5 | 2.3545 | 19 | 0.1589 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 184 | 2.396 | 2.444 | 2.481 | 2.44 | 0.54 | 2.3545 | 19 | 0.1589 | 0 |
| CBD (%AR) | 003.99 | Other | 215 | 2.4921 | 2.3295 | 2.4871 | 2.44 | 0.51 | 2.3545 | 19 | 0.1589 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 199 | 2.519 | 2.493 | 2.5005 | 2.5 | 0.94 | 2.3545 | 19 | 0.1589 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 125 | 2.45 | 2.54 | 2.52 | 2.5 | 0.94 | 2.3545 | 19 | 0.1589 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 122 | 2.5611 | 2.564 | 2.5625 | 2.56 | 1.31 | 2.3545 | 19 | 0.1589 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 197 | 2.6668 | 2.6316 | 2.5327 | 2.61 | 1.61 | 2.3545 | 19 | 0.1589 | 0 |

| CBDA (%AR) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%AR) | 004.99 | Other | 183 | <0.0001 | <0.0001 | <0.0001 | <0.0001 |  |  |  |  | 1 |
| CBDA (%AR) | 004.10 | Other LC-UV | 170 | <0.0300 | <0.0300 | <0.0300 | <0.0300 |  |  |  |  | 1 |
| CBDA (%AR) | 004.10 | Other LC-UV | 106 | <0.0300 | <0.0300 | <0.0300 | <0.0300 |  |  |  |  | 1 |
| CBDA (%AR) | 004.99 | Other | 215 | <0.0500 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  | 1 |
| CBDA (%AR) | 004.10 | Other LC-UV | 192 | 0.0074 | 0.0225 | 0.0163 | 0.0154 | -2.14 | 0.0317 | 14 | 0.0076 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 149 | <0.0200 | 0.033 | <0.0200 | 0.0243 |  |  |  |  | 1 |
| CBDA (%AR) | 004.10 | Other LC-UV | 189 | 0.0246 | 0.0236 | 0.0236 | 0.0239 | -1.02 | 0.0317 | 14 | 0.0076 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 144 | 0.0289 | 0.0213 | 0.0272 | 0.0258 | -0.77 | 0.0317 | 14 | 0.0076 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 197 | 0.0256 | 0.0276 | 0.0253 | 0.0262 | -0.72 | 0.0317 | 14 | 0.0076 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 162 | 0.0266 | 0.0284 | 0.0301 | 0.0284 | -0.43 | 0.0317 | 14 | 0.0076 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 196 | 0.0309 | 0.0299 | 0.0301 | 0.0303 | -0.18 | 0.0317 | 14 | 0.0076 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 103 | 0.035 | 0.032 | 0.03 | 0.0323 | 0.09 | 0.0317 | 14 | 0.0076 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score Rob Mean |  | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%AR) | 004.30 | Other LC-MS | 190 | 0.033 | 0.031 |  | 0.032 | 0.04 | 0.0317 | 14 | 0.0076 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 184 | 0.029 | 0.032 | 0.037 | 0.0327 | 0.13 | 0.0317 | 14 | 0.0076 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 125 | 0.0315 | 0.0342 | 0.0343 | 0.0333 | 0.22 | 0.0317 | 14 | 0.0076 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 199 | 0.0325 | 0.032 | 0.034 | 0.0328 | 0.15 | 0.0317 | 14 | 0.0076 | 0 |
| CBDA (%AR) | 004.03 | AOAC 2018.11, M | 139 | 0.0396 | 0.0384 | 0.0415 | 0.0398 | 1.08 | 0.0317 | 14 | 0.0076 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 191 | 0.0422 | 0.0425 | 0.0424 | 0.0424 | 1.41 | 0.0317 | 14 | 0.0076 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 122 | 0.0528 | 0.0356 | 0.041 | 0.0431 | 1.51 | 0.0317 | 14 | 0.0076 | 0 |
| CBDA (%AR) | 004.60 | NIR | 187 | 0.08 |  |  | 0.08 |  |  |  |  | 1 |

Population of Lab Values

| CBN (%AR) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBN (%AR) | 005.10 | Other LC-UV | 149 | <0.0200 | <0.0200 | <0.0200 | <0.0200 |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 144 | 0.0166 | 0.0183 | 0.014 | 0.0163 | -3.89 | 0.0287 | 15 | 0.0032 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 199 | 0.025 | 0.0255 | 0.0255 | 0.0253 | -1.05 | 0.0287 | 15 | 0.0032 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 189 | 0.025 | 0.025 | 0.0249 | 0.025 | -1.16 | 0.0287 | 15 | 0.0032 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 138 | 0.0287 | 0.0318 | <0.0200 | 0.0268 | -0.58 | 0.0287 | 15 | 0.0032 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 196 | 0.0277 | 0.0264 | 0.0287 | 0.0276 | -0.33 | 0.0287 | 15 | 0.0032 | 0 |
| CBN (%AR) | 005.20 | Other LC-MS | 190 | 0.028 | 0.028 |  | 0.028 | -0.21 | 0.0287 | 15 | 0.0032 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 192 | 0.0307 | 0.026 | 0.0258 | 0.0275 | -0.37 | 0.0287 | 15 | 0.0032 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 197 | 0.028 | 0.0295 | 0.0283 | 0.0286 | -0.02 | 0.0287 | 15 | 0.0032 | 0 |
| CBN (%AR) | 005.99 | Other | 183 | 0.0294 | 0.0292 | 0.0297 | 0.0294 | 0.24 | 0.0287 | 15 | 0.0032 | 0 |
| CBN (%AR) | 005.03 | AOAC 2018.11, M | 139 | 0.0293 | 0.0293 | 0.0299 | 0.0295 | 0.26 | 0.0287 | 15 | 0.0032 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 107 | 0.038 | 0.035 | 0.018 | 0.0303 | 0.53 | 0.0287 | 15 | 0.0032 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBN (%AR) | 005.10 | Other LC-UV | 162 | 0.0296 | 0.0294 | 0.032 | 0.0303 | 0.53 | 0.0287 | 15 | 0.0032 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 125 | 0.0317 | 0.03 | 0.0309 | 0.0309 | 0.69 | 0.0287 | 15 | 0.0032 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 106 | 0.03 | 0.03 | 0.04 | 0.0333 | 1.47 | 0.0287 | 15 | 0.0032 | 0 |
| CBN (%AR) | 005.20 | Other LC-MS | 122 | 0.0388 | 0.0373 | 0.038 | 0.038 | 2.95 | 0.0287 | 15 | 0.0032 | 0 |
|  |  |  |  | Total Δ9-THC (%AR) |  |  |  |  |  |  |  |  |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 102 | 0.029 | 0.029 | 0.026 | 0.028 | -4.23 | 0.0749 | 19 | 0.0111 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 144 | 0.0475 | 0.0529 | 0.0503 | 0.0502 | -2.22 | 0.0749 | 19 | 0.0111 | 0 |
| Total Δ9-THC (%AR) | 006.99 | Other | 183 | 0.051 | 0.0498 | 0.0532 | 0.0513 | -2.12 | 0.0749 | 19 | 0.0111 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 197 | 0.0712 | 0.0695 | 0.0702 | 0.0703 | -0.41 | 0.0749 | 19 | 0.0111 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 196 | 0.0707 | 0.0673 | 0.0719 | 0.07 | -0.44 | 0.0749 | 19 | 0.0111 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 169 | 0.0714 | 0.0769 | 0.0686 | 0.0723 | -0.23 | 0.0749 | 19 | 0.0111 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 138 | 0.0705 | 0.0735 | 0.073 | 0.0723 | -0.23 | 0.0749 | 19 | 0.0111 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 189 | 0.0742 | 0.0707 | 0.071 | 0.072 | -0.26 | 0.0749 | 19 | 0.0111 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 103 | 0.0715 | 0.074 | 0.07 | 0.0718 | -0.27 | 0.0749 | 19 | 0.0111 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 162 | 0.0651 | 0.074 | 0.0795 | 0.0729 | -0.18 | 0.0749 | 19 | 0.0111 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 125 | 0.0776 | 0.0725 | 0.0772 | 0.0758 | 0.08 | 0.0749 | 19 | 0.0111 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 120 | 0.0796 | 0.083 | 0.0702 | 0.0776 | 0.25 | 0.0749 | 19 | 0.0111 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 122 | 0.082 | 0.0802 | 0.0815 | 0.0812 | 0.57 | 0.0749 | 19 | 0.0111 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 107 | 0.084 | 0.085 | 0.074 | 0.081 | 0.55 | 0.0749 | 19 | 0.0111 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 149 | 0.079 | 0.079 | 0.088 | 0.082 | 0.64 | 0.0749 | 19 | 0.0111 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 191 | 0.0813 | 0.0818 | 0.0816 | 0.0816 | 0.6 | 0.0749 | 19 | 0.0111 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score Rob Mean |  | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 199 | 0.0855 | 0.085 | 0.0845 | 0.085 | 0.91 | 0.0749 | 19 | 0.0111 | 0 |
| Total Δ9-THC (%AR) | 006.03 | AOAC 2018.11, M | 139 | 0.0944 | 0.0869 | 0.0907 | 0.0907 | 1.42 | 0.0749 | 19 | 0.0111 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 192 | 0.1005 | 0.0708 | 0.963 | 0.378 | 27.37 | 0.0749 | 19 | 0.0111 | 0 |
| Total Δ9-THC (%AR) | 006.60 | NIR | 187 | 1.29 |  |  | 1.29 |  |  |  |  | 1 |

Population of Lab Values

| Total CBD (%AR) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total CBD (%AR) | 007.60 | NIR | 187 | 0.45 |  |  | 0.45 |  |  |  |  | 1 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 189 | 2.0022 | 1.991 | 1.991 | 1.99 | -2.09 | 2.424 | 17 | 0.2058 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 144 | 2.0507 | 2.0913 | 2.0547 | 2.07 | -1.74 | 2.424 | 17 | 0.2058 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 149 | 2.155 | 2.12 | 2.386 | 2.22 | -0.99 | 2.424 | 17 | 0.2058 | 0 |
| Total CBD (%AR) | 007.99 | Other | 183 | 2.27 | 2.29 | 2.28 | 2.28 | -0.7 | 2.424 | 17 | 0.2058 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 192 | 2.5516 | 2.2125 | 2.2861 | 2.35 | -0.36 | 2.424 | 17 | 0.2058 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 196 | 2.354 | 2.341 | 2.383 | 2.36 | -0.31 | 2.424 | 17 | 0.2058 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 162 | 2.3653 | 2.3642 | 2.3887 | 2.37 | -0.25 | 2.424 | 17 | 0.2058 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 191 | 2.372 | 2.372 | 2.372 | 2.37 | -0.25 | 2.424 | 17 | 0.2058 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 103 | 2.3117 | 2.3331 | 2.4968 | 2.38 | -0.21 | 2.424 | 17 | 0.2058 | 0 |
| Total CBD (%AR) | 007.03 | AOAC 2018.11, M | 139 | 2.4627 | 2.3667 | 2.4137 | 2.41 | -0.05 | 2.424 | 17 | 0.2058 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 199 | 2.5475 | 2.5211 | 2.5303 | 2.53 | 0.53 | 2.424 | 17 | 0.2058 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 125 | 2.48 | 2.57 | 2.55 | 2.53 | 0.53 | 2.424 | 17 | 0.2058 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 107 | 2.508 | 2.602 | 2.57 | 2.56 | 0.66 | 2.424 | 17 | 0.2058 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 122 | 2.6074 | 2.5952 | 2.5985 | 2.6 | 0.86 | 2.424 | 17 | 0.2058 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 197 | 2.6893 | 2.6558 | 2.5549 | 2.63 | 1.02 | 2.424 | 17 | 0.2058 | 0 |

| Analyte Code |  | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total CBD (%AR) | 007.40 | GC-FID | 138 | 2.6108 | 2.624 | 2.6704 | 2.64 | 1.03 | 2.424 | 17 | 0.2058 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 169 | 3.0112 | 2.9401 | 2.8249 | 2.93 | 2.44 | 2.424 | 17 | 0.2058 | 0 |

Population of Lab Values

| CBDV (%AR) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDV (%AR) | 008.99 | Other | 197 | <0.0150 | <0.0146 | <0.0149 | <0.0150 | 1 |
| CBDV (%AR) | 008.99 | Other | 106 | <0.0300 | <0.0300 | <0.0300 | <0.0300 | 1 |
| CBDV (%AR) | 008.99 | Other | 189 | 0.0085 | 0.0089 | 0.0083 | 0.0086 | 0 |
| CBDV (%AR) | 008.99 | Other | 162 | 0.0125 | 0.0128 | 0.0133 | 0.0129 | 0 |
| CBDV (%AR) | 008.99 | Other | 196 | 0.0133 | 0.0135 | 0.0142 | 0.0137 | 0 |
| CBDV (%AR) | 008.99 | Other | 183 | 0.0192 | 0.0186 | 0.0182 | 0.0187 | 0 |
| CBDV (%AR) | 008.02 | AOAC 2018.11, U | 199 | 0.0365 | 0.0415 | 0.0355 | 0.0378 | 0 |

|  |  |  | CBDVA (%AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDVA (%AR) | 009.99 | Other | 183 | <0.0006 | <0.0006 | <0.0006 | <0.0006 | 1 |
| CBDVA (%AR) | 009.99 | Other | 197 | <0.0150 | <0.0146 | <0.0149 | <0.0150 | 1 |
| CBDVA (%AR) | 009.99 | Other | 149 | <0.0200 | <0.0200 | <0.0200 | <0.0200 | 1 |
| CBDVA (%AR) | 009.99 | Other | 196 | <0.0210 | <0.0210 | <0.0210 | <0.0210 | 1 |

|  |  |  | CBG (%AR) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%AR) | 010.99 | Other | 196 | 0.0557 | 0.0527 | 0.0526 | 0.0537 | -1.43 | 0.0688 | 10 | 0.0106 | 0 |
| CBG (%AR) | 010.99 | Other | 197 | 0.0582 | 0.0596 | 0.0593 | 0.059 | -0.92 | 0.0688 | 10 | 0.0106 | 0 |
| CBG (%AR) | 010.99 | Other | 149 | 0.06 | 0.063 | 0.063 | 0.062 | -0.64 | 0.0688 | 10 | 0.0106 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%AR) | 010.99 | Other | 162 | 0.0686 | 0.069 | 0.054 | 0.0639 | -0.47 | 0.0688 | 10 | 0.0106 | 0 |
| CBG (%AR) | 010.99 | Other | 189 | 0.0673 | 0.0632 | 0.0643 | 0.0649 | -0.37 | 0.0688 | 10 | 0.0106 | 0 |
| CBG (%AR) | 010.02 | AOAC 2018.11, U | 199 | 0.0755 | 0.072 | 0.072 | 0.0732 | 0.41 | 0.0688 | 10 | 0.0106 | 0 |
| CBG (%AR) | 010.02 | AOAC 2018.11, U | 103 | 0.0785 | 0.078 | 0.0695 | 0.0753 | 0.61 | 0.0688 | 10 | 0.0106 | 0 |
| CBG (%AR) | 010.02 | AOAC 2018.11, U | 125 | 0.0742 | 0.0774 | 0.0748 | 0.0755 | 0.63 | 0.0688 | 10 | 0.0106 | 0 |
| CBG (%AR) | 010.99 | Other | 106 | 0.08 | 0.08 | 0.08 | 0.08 | 1.05 | 0.0688 | 10 | 0.0106 | 0 |
| CBG (%AR) | 010.99 | Other | 183 | 0.0813 | 0.0793 | 0.0818 | 0.0808 | 1.13 | 0.0688 | 10 | 0.0106 | 0 |

Population of Lab Values

| CBGA (%AR) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBGA (%AR) | 011.99 | Other | 183 | <0.0001 | <0.0001 | <0.0001 | <0.0001 | 1 |
| CBGA (%AR) | 011.99 | Other | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| CBGA (%AR) | 011.02 | AOAC 2018.11, U | 125 | <0.0100 | <0.0100 | <0.0082 | <0.0100 | 1 |
| CBGA (%AR) | 011.99 | Other | 197 | <0.0150 | <0.0146 | <0.0149 | <0.0150 | 1 |
| CBGA (%AR) | 011.02 | AOAC 2018.11, U | 199 | <0.0200 | <0.0200 | <0.0200 | <0.0200 | 1 |
| CBGA (%AR) | 011.99 | Other | 149 | <0.0200 | <0.0200 | <0.0200 | <0.0200 | 1 |
| CBGA (%AR) | 011.99 | Other | 196 | <0.0210 | <0.0210 | <0.0210 | <0.0210 | 1 |
| CBGA (%AR) | 011.99 | Other | 106 | <0.0300 | <0.0300 | <0.0300 | <0.0300 | 1 |
| CBGA (%AR) | 011.99 | Other | 189 | 0.0059 | 0.0067 | 0.0061 | 0.0062 | 0 |
| CBGA (%AR) | 011.02 | AOAC 2018.11, U | 103 | 0.0105 | 0.0105 | 0.01 | 0.0103 | 0 |

THCV (%AR)

THCV (%AR)

012.99	Other

183

<0.0002  <0.0002	<0.0002	<0.0002	1

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score Rob Mean |  | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| THCV (%AR) | 012.99 | Other | 197 | <0.0150 | <0.0146 | <0.0149 | <0.0150 |  |  |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 149 | <0.0200 | <0.0200 | <0.0200 | <0.0200 |  |  |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 196 | <0.0210 | <0.0210 | <0.0210 | <0.0210 |  |  |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 106 | <0.0300 | <0.0300 | <0.0300 | <0.0300 |  |  |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 189 | 0.0037 | 0.0013 | 0.0014 | 0.0021 |  |  |  |  | 0 |

Population of Lab Values

| Δ8-THC (%AR) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ8-THC (%AR) | 013.99 | Other | 196 | 0.0929 | 0.0864 | 0.0892 | 0.0895 | -1.4 | 0.1079 | 10 | 0.0131 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 189 | 0.0928 | 0.0916 | 0.091 | 0.0918 | -1.23 | 0.1079 | 10 | 0.0131 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 149 | 0.1 | 0.1 | 0.11 | 0.103 | -0.35 | 0.1079 | 10 | 0.0131 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 162 | 0.103 | 0.1087 | 0.1036 | 0.105 | -0.21 | 0.1079 | 10 | 0.0131 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 183 | 0.1014 | 0.109 | 0.11 | 0.107 | -0.08 | 0.1079 | 10 | 0.0131 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 197 | 0.1088 | 0.1097 | 0.1093 | 0.109 | 0.1 | 0.1079 | 10 | 0.0131 | 0 |
| Δ8-THC (%AR) | 013.02 | AOAC 2018.11, U | 199 | 0.11 | 0.1105 | 0.1105 | 0.11 | 0.19 | 0.1079 | 10 | 0.0131 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 106 | 0.11 | 0.12 | 0.12 | 0.117 | 0.67 | 0.1079 | 10 | 0.0131 | 0 |
| Δ8-THC (%AR) | 013.03 | AOAC 2018.11, M | 139 | 0.12 | 0.1168 | 0.1208 | 0.119 | 0.86 | 0.1079 | 10 | 0.0131 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 138 | 0.1249 | 0.1284 | 0.1278 | 0.127 | 1.46 | 0.1079 | 10 | 0.0131 | 0 |

|  |  |  | CBC (%AR) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%AR) | 014.99 | Other | 189 | 0.1072 | 0.1072 | 0.1073 | 0.107 | -2.18 | 0.1238 | 9 | 0.0076 | 0 |
| CBC (%AR) | 014.99 | Other | 196 | 0.12 | 0.1153 | 0.1222 | 0.119 | -0.61 | 0.1238 | 9 | 0.0076 | 0 |
| CBC (%AR) | 014.99 | Other | 197 | 0.124 | 0.1188 | 0.1148 | 0.119 | -0.6 | 0.1238 | 9 | 0.0076 | 0 |

Lab

Lab

Population of Lab Values

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%AR) | 014.99 | Other | 106 | 0.12 | 0.12 | 0.12 | 0.12 | -0.5 | 0.1238 | 9 | 0.0076 | 0 |
| CBC (%AR) | 014.99 | Other | 162 | 0.1225 | 0.1235 | 0.1249 | 0.124 | -0.02 | 0.1238 | 9 | 0.0076 | 0 |
| CBC (%AR) | 014.99 | Other | 149 | 0.121 | 0.127 | 0.131 | 0.126 | 0.34 | 0.1238 | 9 | 0.0076 | 0 |
| CBC (%AR) | 014.02 | AOAC 2018.11, U | 125 | 0.131 | 0.127 | 0.132 | 0.13 | 0.82 | 0.1238 | 9 | 0.0076 | 0 |
| CBC (%AR) | 014.99 | Other | 183 | 0.13 | 0.129 | 0.131 | 0.13 | 0.82 | 0.1238 | 9 | 0.0076 | 0 |
| CBC (%AR) | 014.02 | AOAC 2018.11, U | 199 | 0.133 | 0.133 | 0.1335 | 0.133 | 1.24 | 0.1238 | 9 | 0.0076 | 0 |

|  |  |  | Cd (ug/g AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cd (ug/g AR) | 101.04 | ICP-MS | 183 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 196 | <0.0240 | <0.0240 | <0.0240 | <0.0240 | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 106 | <0.0800 | <0.0800 | <0.0800 | <0.0800 | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 197 | <0.0977 | <0.0969 | <0.0958 | <0.0977 | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 | <0.2000 | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 102 | 0.0004 | 0.0002 | 0.0004 | 0.0003 | 0 |

|  |  |  | As (ug/g AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| As (ug/g AR) | 102.04 | ICP-MS | 183 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 196 | <0.0480 | <0.0480 | <0.0480 | <0.0480 | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 106 | <0.0800 | <0.0800 | <0.0800 | <0.0800 | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 197 | <0.0977 | <0.0969 | <0.0958 | <0.0977 | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 | <0.2000 | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 102 | 0.0003 | 0.0002 | 0.0001 | 0.0002 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Hg (ug/g AR) |  |  |  |  |  |  |  |  |
| Hg (ug/g AR) | 103.04 | ICP-MS | 196 | <0.0070 | <0.0070 | <0.0070 | <0.0070 |  |  |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 106 | <0.0080 | <0.0080 | <0.0080 | <0.0080 |  |  |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 183 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 197 | <0.0977 | <0.0969 | <0.0958 | <0.0977 |  |  |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 | <0.2000 |  |  |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 102 | 0.0002 | 0.0002 | 0.0001 | 0.0002 |  |  |  |  | 0 |
|  |  |  |  | Pb (ug/g AR) |  |  |  |  |  |  |  |  |
| Pb (ug/g AR) | 104.04 | ICP-MS | 183 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 196 | <0.0240 | <0.0240 | <0.0240 | <0.0240 |  |  |  |  | 1 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 106 | <0.0800 | <0.0800 | <0.0800 | <0.0800 |  |  |  |  | 1 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 197 | <0.0977 | <0.0969 | <0.0958 | <0.0977 |  |  |  |  | 1 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 | <0.2000 |  |  |  |  | 1 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 102 | 0.0034 | 0.0052 | 0.0078 | 0.0055 |  |  |  |  | 0 |
|  |  |  |  | Cu (ug/g AR) |  |  |  |  |  |  |  |  |
| Cu (ug/g AR) | 105.04 | ICP-MS | 196 | <0.4900 <0.4900 <0.4900 |  |  | <0.4900 |  |  |  |  | 1 |
|  |  |  |  | Ni (ug/g AR) |  |  |  |  |  |  |  |  |
| Ni (ug/g AR) | 106.04 | ICP-MS | 196 | <0.0720 <0.0720 <0.0720 |  |  | <0.0720 |  |  |  |  | 1 |

Population of Lab Values

|  |  |  | Lab |  |  |  | Lab |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | Value | Z score |  | Rob Mean | n | Rob StDev | Flag |
| Ni (ug/g AR) | 106.04 | ICP-MS | 183 | 0.0542 | 0.0366 | 0.0384 | 0.0431 | 0 |  |  |  |  |  |
|  |  |  |  | Cr (ug/g AR) |  |  |  |  |  |  |  |  |  |
| Cr (ug/g AR) | 107.04 | ICP-MS | 196 | <0.0720 <0.0720 <0.0720 |  |  | <0.0720 | 1 |  |  |  |  |  |
| Cr (ug/g AR) | 107.04 | ICP-MS | 197 | <2.0000 <2.0000 <2.0000 |  |  | <2.0000 | 1 |  |  |  |  |  |
|  |  |  |  | Se (ug/g AR) |  |  |  |  |  |  |  |  |  |
| Se (ug/g AR) | 108.04 | ICP-MS | 196 | <0.0960 <0.0960 <0.0960 |  |  | <0.0960 | 1 |  |  |  |  |  |
| Se (ug/g AR) | 108.04 | ICP-MS | 197 | <0.0977 <0.0969 <0.0958 |  |  | <0.0977 | 1 |  |  |  |  |  |
|  |  |  |  | Zn (ug/g AR) |  |  |  |  |  |  |  |  |  |
| Zn (ug/g AR) | 111.04 | ICP-MS | 196 | <5.0000 <5.0000 <5.0000 |  |  | <5.0000 | 1 |  |  |  |  |  |
|  |  |  |  | Sb (ug/g AR) |  |  |  |  |  |  |  |  |  |
| Sb (ug/g AR) | 112.04 | ICP-MS | 196 | <0.0240 <0.0240 <0.0240 |  |  | <0.0240 | 1 |  |  |  |  |  |
|  |  |  |  | (-)-alpha-Bisabolol (%AR) |  |  |  |  |  |  |  |  |  |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |  |  |  |  |  |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 196 | <0.0650 | <0.0650 | <0.0650 | <0.0650 | 1 |  |  |  |  |  |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 183 | 0.0498 | 0.053 | 0.0545 | 0.0524 | 0 |  |  |  |  |  |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | beta-Caryophyllene (%AR) |  |  |  |  |  |  |  |  |
| beta-Caryophyllene (% | 202.02 | GC,MS | 196 | <0.0650 | <0.0650 | <0.0650 | <0.0650 |  |  |  |  | 1 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 162 | 0.0155 | 0.0169 | <0.0100 | 0.0141 |  |  |  |  | 0 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 183 | 0.0378 | 0.0379 | 0.0382 | 0.038 |  |  |  |  | 0 |
|  |  |  | (-)-Caryophyllene oxide (%AR) |  |  |  |  |  |  |  |  |  |
| (-)-Caryophyllene oxide | 203.02 | GC,MS | 196 | <0.0650 <0.0650 <0.0650 |  |  | <0.0650 |  |  |  |  | 1 |
| (-)-Caryophyllene oxide | 203.02 | GC,MS | 183 | 0.017 | 0.0179 | 0.0183 | 0.0177 |  |  |  |  | 0 |
|  |  |  |  | Geraniol (%AR) |  |  |  |  |  |  |  |  |
| Geraniol (%AR) | 204.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| Geraniol (%AR) | 204.02 | GC,MS | 183 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| Geraniol (%AR) | 204.02 | GC,MS | 196 | <0.0650 | <0.0650 | <0.0650 | <0.0650 |  |  |  |  | 1 |
|  |  |  |  | alpha-Humulene (%AR) |  |  |  |  |  |  |  |  |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 196 | <0.0650 | <0.0650 | <0.0650 | <0.0650 |  |  |  |  | 1 |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 183 | 0.0143 | 0.0144 | 0.0144 | 0.0144 |  |  |  |  | 0 |
|  |  |  |  | d-Limonene (%AR) |  |  |  |  |  |  |  |  |
| d-Limonene (%AR) | 206.02 | GC,MS | 196 | <0.0013 <0.0013 <0.0013 |  |  | <0.0013 |  |  |  |  | 1 |
| d-Limonene (%AR) | 206.02 | GC,MS | 183 | <0.0100 <0.0100 <0.0100 |  |  | <0.0100 |  |  |  |  | 1 |

Population of Lab Values

|  |  |  | Lab |  |  |  | Lab |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Analyte | Code | Method | Num | Result1 Result2 Result3 |  |  | Value | Z score |  | Rob Mean | n | Rob StDev | Flag |
| d-Limonene (%AR) | 206.02 | GC,MS | 162 | <0.0100 <0.0100 <0.0100 |  |  | <0.0100 | 1 |  |  |  |  |  |
|  |  |  |  | Linalool (%AR) |  |  |  |  |  |  |  |  |  |
| Linalool (%AR) | 207.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 | 1 |  |  |  |  |  |
| Linalool (%AR) | 207.02 | GC,MS | 183 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |  |  |  |  |  |
| Linalool (%AR) | 207.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |  |  |  |  |  |
|  |  |  |  | beta-Myrcene (%AR) |  |  |  |  |  |  |  |  |  |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 | 1 |  |  |  |  |  |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 183 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |  |  |  |  |  |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |  |  |  |  |  |
|  |  |  |  | Ocimene (%AR) |  |  |  |  |  |  |  |  |  |
| Ocimene (%AR) | 210.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 | 1 |  |  |  |  |  |
| Ocimene (%AR) | 210.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |  |  |  |  |  |
| Ocimene (%AR) | 210.02 | GC,MS | 183 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |  |  |  |  |  |
|  |  |  |  | alpha-Pinene (%AR) |  |  |  |  |  |  |  |  |  |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 | 1 |  |  |  |  |  |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |  |  |  |  |  |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 183 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |  |  |  |  |  |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | (-)-beta-Pinene (%AR) |  |  |  |  |  |  |  |  |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 |  |  |  |  | 1 |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 183 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
|  |  |  |  | alpha-Terpinene (%AR) |  |  |  |  |  |  |  |  |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 |  |  |  |  | 1 |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 183 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
|  |  |  |  | gamma-Terpinene (%AR) |  |  |  |  |  |  |  |  |
| gamma-Terpinene (%A | 214.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 |  |  |  |  | 1 |
| gamma-Terpinene (%A | 214.02 | GC,MS | 183 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| gamma-Terpinene (%A | 214.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
|  |  |  |  | alpha-Terpinolene (%AR) |  |  |  |  |  |  |  |  |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 |  |  |  |  | 1 |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 183 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
|  |  |  |  | Moisture (%AR) |  |  |  |  |  |  |  |  |
| Moisture (%AR) | 500.99 | Other | 102 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |

Population of Lab Values

| Analyte Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Population of Lab Values

| Δ9-THC (%DW) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%DW) | 501.01 | AOAC 2018.10 | 210 | 0.069 | 0.066 | 0.066 | 0.067 | 0 |
| Δ9-THC (%DW) | 501.30 | Other LC-MS | 102 | 0.11 | 0.116 | 0.11 | 0.112 | 0 |

|  |  |  |  | Δ9-THCA (%DW) |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%DW) | 502.01 | AOAC 2018.10 | 210 | <0.0240 <0.0240 <0.0240 | <0.0240 | 1 |
| Δ9-THCA (%DW) | 502.30 | Other LC-MS | 102 | 0 0.01 0.008 | 0.009 | 0 |

CBD (%DW)

CBD (%DW)

503.01	AOAC 2018.10

210

2.986	2.912	3.017	2.97	0

CBDA (%DW)

CBDA (%DW)

504.01	AOAC 2018.10

210

<0.0450  <0.0480	<0.0460	<0.0450	1

CBN (%DW)

CBN (%DW)

505.02	AOAC 2018.11, U

210

<0.0240  <0.0240	<0.0230	<0.0240	1

| Total Δ9-THC (%DW) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%DW) | 506.01 | AOAC 2018.10 | 210 | 0.069 | 0.066 | 0.066 | 0.067 | 0 |
| Total Δ9-THC (%DW) | 506.30 | Other LC-MS | 102 | 0.11 | 0.126 | 0.11 | 0.115 | 0 |

Total CBD (%DW)

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

Value	Z score

Population of Lab Values	 Rob Mean	n	Rob StDev

Flag

Total CBD (%DW)

507.01	AOAC 2018.10

210

2.986	2.912	3.017	2.97	0

CBDV (%DW)

CBDV (%DW)

508.02	AOAC 2018.11, U

210

<0.0460  <0.0450	<0.0430	<0.0460	1

CBDVA (%DW)

CBDVA (%DW)

509.01	AOAC 2018.10

210

<0.0480  <0.0480	<0.0460	<0.0480	1

CBG (%DW)

CBG (%DW)

510.01	AOAC 2018.10

210

0.057	0.063	0.05	0.0567	0

CBGA (%DW)

CBGA (%DW)

511.01	AOAC 2018.10

210

<0.0480  <0.0480	<0.0460	<0.0480	1

THCV (%DW)

THCV (%DW)

512.02	AOAC 2018.11, U

210

<0.0460  <0.0450	<0.0430	<0.0460	1

Δ8-THC (%DW)

Δ8-THC (%DW)

513.01	AOAC 2018.10

210

0.096	0.093	0.096	0.095	0

CBC (%DW)

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

Value	Z score

Population of Lab Values	 Rob Mean	n	Rob StDev

Flag

CBC (%DW)

514.02	AOAC 2018.11, U

210

0.123	0.12	0.121	0.121	0

- Flag definitions: 1 (Lab Value not used because there were less than 2 numeric lab results), 2 (Lab Value not used because there were less than 2 numeric lab results greater than 0).

- Robust statistics performed to determine robust mean and Z scores only if there were 6 or more numeric lab values.

- AR refers to concentration on as-received basis. DW refers to concentration on dry weight basis.