Hemp Proficiency Testing

All Labs Trueness OL24NOV-1 (oil)

Sample: OL24NOV-1 (oil)

All Labs Trueness

Issue Date: December 21, 2024

| Analyte | Code | Method | Lab Num |  | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Δ9-THC (%AR) |  |  |  |  |  |  |  |  |  |  |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 184 | 0.1320 | 0.1279 | 0.1375 | 0.132 | -1.25 | 0.1519 | 19 | 0.0155 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 142 | 0.1380 | 0.1350 | 0.1360 | 0.136 | -1 | 0.1519 | 19 | 0.0155 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS |  | 190 | 0.1380 | 0.1360 | 0.1400 | 0.138 | -0.9 | 0.1519 | 19 | 0.0155 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 192 | 0.1436 | 0.1457 | 0.1343 | 0.141 | -0.69 | 0.1519 | 19 | 0.0155 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U |  | 199 | 0.1435 | 0.1410 | 0.1410 | 0.142 | -0.65 | 0.1519 | 19 | 0.0155 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 162 | 0.1426 | 0.1399 | 0.1468 | 0.143 | -0.57 | 0.1519 | 19 | 0.0155 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 173 | 0.1430 | 0.1430 | 0.1420 | 0.143 | -0.59 | 0.1519 | 19 | 0.0155 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U |  | 210 | 0.1460 | 0.1450 | 0.1460 | 0.146 | -0.4 | 0.1519 | 19 | 0.0155 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS |  | 102 | 0.1470 | 0.1480 | 0.1500 | 0.148 | -0.23 | 0.1519 | 19 | 0.0155 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 149 | 0.1490 | 0.1520 | 0.1460 | 0.149 | -0.18 | 0.1519 | 19 | 0.0155 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 196 | 0.1546 | 0.1445 | 0.1495 | 0.15 | -0.15 | 0.1519 | 19 | 0.0155 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 189 | 0.1508 | 0.1502 | 0.1500 | 0.15 | -0.1 | 0.1519 | 19 | 0.0155 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U |  | 103 | 0.1529 | 0.1566 | 0.1467 | 0.152 | 0.01 | 0.1519 | 19 | 0.0155 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 183 | 0.1580 | 0.1510 | 0.1560 | 0.155 | 0.2 | 0.1519 | 19 | 0.0155 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 125 | 0.1756 | 0.1671 | 0.1542 | 0.166 | 0.89 | 0.1519 | 19 | 0.0155 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 106 | 0.1700 | 0.1700 | 0.1700 | 0.17 | 1.17 | 0.1519 | 19 | 0.0155 | 0 |
| Δ9-THC (%AR) | 001.03 | AOAC 2018.11, M | 139 | 0.1776 | 0.1739 | 0.1704 | 0.174 | 1.43 | 0.1519 | 19 | 0.0155 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 197 | 0.1881 | 0.1869 | 0.1830 | 0.186 | 2.21 | 0.1519 | 19 | 0.0155 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 213 | 0.2390 | 0.2420 | 0.2420 | 0.241 | 5.77 | 0.1519 | 19 | 0.0155 | 0 |

Population of Lab Values

| Δ9-THCA (%AR) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 125 | <0.0020 | <0.0020 | <0.0020 | <0.0020 | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 142 | <0.0038 | <0.0038 | <0.0038 | <0.0038 | 1 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 149 | <0.0040 | <0.0040 | <0.0040 | <0.0040 | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 183 | <0.0080 | <0.0020 | <0.0020 | <0.0080 | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 197 | <0.0096 | <0.0093 | <0.0093 | <0.0096 | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 184 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 210 | <0.0120 | <0.0120 | <0.0120 | <0.0120 | 1 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 102 | <0.0200 | <0.0200 | <0.0200 | <0.0200 | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 196 | <0.0210 | <0.0210 | <0.0210 | <0.0210 | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 170 | <0.0300 | <0.0300 | <0.0300 | <0.0300 | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 106 | <0.0300 | <0.0300 | <0.0300 | <0.0300 | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 149 | <0.0400 | <0.0400 | <0.0400 | <0.0400 | 1 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 199 | <0.0500 | <0.0500 | <0.0500 | <0.0500 | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 192 | 0.0000 | 0.0000 | 0.0000 | 0 | 0 |

Lab

Lab

Population of Lab Values

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | Value | Z score Rob Mean |  | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 173 | 0.0000 | 0.0000 | 0.0000 | 0 |  |  |  |  | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 189 | 0.0015 | 0.0011 | 0.0013 | 0.0013 |  |  |  |  | 0 |
| Δ9-THCA (%AR) | 002.03 | AOAC 2018.11, M | 139 | <0.0125 | <0.0125 | 0.0125 | 0.0125 |  |  |  |  | 1 |

| CBD (%AR) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%AR) | 003.10 | Other LC-UV | 189 | 1.7158 | 1.7129 | 1.7058 | 1.71 | -1.4 | 1.935 | 20 | 0.1595 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 190 | 1.8450 | 1.7020 | 1.6720 | 1.74 | -1.22 | 1.935 | 20 | 0.1595 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 210 | 1.7710 | 1.7710 | 1.7820 | 1.77 | -1.01 | 1.935 | 20 | 0.1595 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 149 | 1.9190 | 1.6360 | 1.7740 | 1.78 | -0.99 | 1.935 | 20 | 0.1595 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 170 | 1.8371 | 1.7368 | 1.8596 | 1.81 | -0.78 | 1.935 | 20 | 0.1595 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 192 | 1.8246 | 1.8356 | 1.7865 | 1.82 | -0.75 | 1.935 | 20 | 0.1595 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 149 | 1.8210 | 1.7750 | 1.8890 | 1.83 | -0.67 | 1.935 | 20 | 0.1595 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 184 | 1.7828 | 1.9410 | 1.8161 | 1.85 | -0.55 | 1.935 | 20 | 0.1595 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 213 | 1.7040 | 1.9310 | 2.0870 | 1.91 | -0.17 | 1.935 | 20 | 0.1595 | 0 |
| CBD (%AR) | 003.03 | AOAC 2018.11, M | 139 | 1.9478 | 1.9806 | 1.9139 | 1.95 | 0.08 | 1.935 | 20 | 0.1595 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 173 | 1.9500 | 1.9490 | 1.9490 | 1.95 | 0.09 | 1.935 | 20 | 0.1595 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 196 | 2.0013 | 1.8853 | 1.9846 | 1.96 | 0.14 | 1.935 | 20 | 0.1595 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 162 | 2.0169 | 1.9962 | 1.9770 | 2 | 0.39 | 1.935 | 20 | 0.1595 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 103 | 2.1316 | 2.0363 | 1.9653 | 2.04 | 0.69 | 1.935 | 20 | 0.1595 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 197 | 2.0958 | 2.0428 | 2.0299 | 2.06 | 0.76 | 1.935 | 20 | 0.1595 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 183 | 2.0100 | 2.0600 | 2.1300 | 2.07 | 0.83 | 1.935 | 20 | 0.1595 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 199 | 2.0985 | 2.0755 | 2.0850 | 2.09 | 0.95 | 1.935 | 20 | 0.1595 | 0 |

| Analyte Code |  | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score Rob Mean |  | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 125 | 2.1033 | 2.0987 | 2.0716 | 2.09 | 0.98 | 1.935 | 20 | 0.1595 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 142 | 2.1300 | 2.1100 | 2.1200 | 2.12 | 1.16 | 1.935 | 20 | 0.1595 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 106 | 2.1800 | 2.1600 | 2.2100 | 2.18 | 1.56 | 1.935 | 20 | 0.1595 | 0 |

Population of Lab Values

| CBDA (%AR) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 125 | <0.0020 | <0.0020 | <0.0020 | <0.0020 |  |  |  |  | 1 |
| CBDA (%AR) | 004.10 | Other LC-UV | 142 | <0.0038 | <0.0038 | <0.0038 | <0.0038 |  |  |  |  | 1 |
| CBDA (%AR) | 004.30 | Other LC-MS | 149 | <0.0040 | <0.0040 | <0.0040 | <0.0040 |  |  |  |  | 1 |
| CBDA (%AR) | 004.10 | Other LC-UV | 183 | <0.0040 | <0.0040 | <0.0040 | <0.0040 |  |  |  |  | 1 |
| CBDA (%AR) | 004.10 | Other LC-UV | 197 | <0.0096 | <0.0093 | <0.0093 | <0.0096 |  |  |  |  | 1 |
| CBDA (%AR) | 004.10 | Other LC-UV | 184 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| CBDA (%AR) | 004.10 | Other LC-UV | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 210 | <0.0120 | <0.0120 | <0.0120 | <0.0120 |  |  |  |  | 1 |
| CBDA (%AR) | 004.10 | Other LC-UV | 196 | <0.0210 | <0.0210 | <0.0210 | <0.0210 |  |  |  |  | 1 |
| CBDA (%AR) | 004.10 | Other LC-UV | 170 | <0.0300 | <0.0300 | <0.0300 | <0.0300 |  |  |  |  | 1 |
| CBDA (%AR) | 004.10 | Other LC-UV | 106 | <0.0300 | <0.0300 | <0.0300 | <0.0300 |  |  |  |  | 1 |
| CBDA (%AR) | 004.10 | Other LC-UV | 149 | <0.0400 | <0.4000 | <0.4000 | <0.0400 |  |  |  |  | 1 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 199 | <0.0500 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  | 1 |
| CBDA (%AR) | 004.10 | Other LC-UV | 173 | 0.0000 | 0.0000 | 0.0000 | 0 | -0.76 | 0.0049 | 7 | 0.0065 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 192 | 0.0000 | 0.0000 | 0.0000 | 0 | -0.76 | 0.0049 | 7 | 0.0065 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 190 | 0.0020 | 0.0020 | 0.0020 | 0.002 | -0.45 | 0.0049 | 7 | 0.0065 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 189 | 0.0028 | 0.0033 | 0.0034 | 0.0032 | -0.27 | 0.0049 | 7 | 0.0065 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score Rob Mean |  | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 103 | 0.0029 | 0.0031 | 0.0041 | 0.0034 | -0.24 | 0.0049 | 7 | 0.0065 | 0 |
| CBDA (%AR) | 004.03 | AOAC 2018.11, M | 139 | 0.0116 | 0.0108 | 0.0114 | 0.0113 | 0.97 | 0.0049 | 7 | 0.0065 | 0 |
| CBDA (%AR) | 004.01 | AOAC 2018.10 | 228 | 4.8890 | 4.9120 | 4.9010 | 4.9 | 750.08 | 0.0049 | 7 | 0.0065 | 0 |

Population of Lab Values

| CBN (%AR) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBN (%AR) | 005.10 | Other LC-UV | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 142 | <0.0113 | <0.0113 | <0.0113 | <0.0113 |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 196 | <0.0210 | <0.0210 | <0.0210 | <0.0210 |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 106 | <0.0300 | <0.0300 | <0.0300 | <0.0300 |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 149 | <0.0400 | <0.0400 | <0.0400 | <0.0400 |  |  |  |  | 1 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 199 | <0.0500 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 173 | <0.0510 | <0.0490 | <0.0500 | <0.0510 |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 192 | 0.0029 | 0.0028 | 0.0027 | 0.0028 | -3.48 | 0.0103 | 9 | 0.0021 | 0 |
| CBN (%AR) | 005.03 | AOAC 2018.11, M | 139 | 0.0095 | 0.0092 | 0.0092 | 0.0093 | -0.45 | 0.0103 | 9 | 0.0021 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 213 | 0.0087 | 0.0091 | 0.0079 | 0.0086 | -0.79 | 0.0103 | 9 | 0.0021 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 189 | 0.0093 | 0.0095 | 0.0098 | 0.0095 | -0.34 | 0.0103 | 9 | 0.0021 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 125 | 0.0109 | 0.0116 | 0.0117 | 0.0114 | 0.53 | 0.0103 | 9 | 0.0021 | 0 |
| CBN (%AR) | 005.20 | Other LC-MS | 190 | 0.0110 | 0.0100 | 0.0110 | 0.0107 | 0.19 | 0.0103 | 9 | 0.0021 | 0 |
| CBN (%AR) | 005.20 | Other LC-MS | 149 | 0.0120 | 0.0100 | 0.0100 | 0.0107 | 0.19 | 0.0103 | 9 | 0.0021 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 183 | 0.0110 | 0.0120 | 0.0120 | 0.0117 | 0.66 | 0.0103 | 9 | 0.0021 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 197 | 0.0148 | 0.0151 | 0.0144 | 0.0148 | 2.1 | 0.0103 | 9 | 0.0021 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 138 | <0.0200 | <0.0200 | 0.0214 | 0.0205 |  |  |  |  | 1 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Total Δ9-THC (%AR) |  |  |  |  |  |  |  |  |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 107 | 0.1290 | 0.1210 | 0.1250 | 0.125 | -2.2 | 0.1498 | 18 | 0.0113 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 142 | 0.1380 | 0.1350 | 0.1350 | 0.136 | -1.23 | 0.1498 | 18 | 0.0113 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 192 | 0.1436 | 0.1457 | 0.1343 | 0.141 | -0.77 | 0.1498 | 18 | 0.0113 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 199 | 0.1435 | 0.1410 | 0.1410 | 0.142 | -0.71 | 0.1498 | 18 | 0.0113 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 162 | 0.1426 | 0.1399 | 0.1468 | 0.143 | -0.6 | 0.1498 | 18 | 0.0113 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 173 | 0.1430 | 0.1430 | 0.1430 | 0.143 | -0.61 | 0.1498 | 18 | 0.0113 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 210 | 0.1460 | 0.1450 | 0.1460 | 0.146 | -0.37 | 0.1498 | 18 | 0.0113 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 102 | 0.1470 | 0.1480 | 0.1500 | 0.148 | -0.13 | 0.1498 | 18 | 0.0113 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 149 | 0.1490 | 0.1520 | 0.1460 | 0.149 | -0.07 | 0.1498 | 18 | 0.0113 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 138 | 0.1476 | 0.1526 | 0.1474 | 0.149 | -0.06 | 0.1498 | 18 | 0.0113 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 196 | 0.1546 | 0.1445 | 0.1495 | 0.15 | -0.03 | 0.1498 | 18 | 0.0113 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 189 | 0.1521 | 0.1512 | 0.1512 | 0.152 | 0.15 | 0.1498 | 18 | 0.0113 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 103 | 0.1529 | 0.1566 | 0.1467 | 0.152 | 0.2 | 0.1498 | 18 | 0.0113 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 183 | 0.1580 | 0.1510 | 0.1560 | 0.155 | 0.46 | 0.1498 | 18 | 0.0113 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 149 | 0.1510 | 0.1680 | 0.1600 | 0.16 | 0.87 | 0.1498 | 18 | 0.0113 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 125 | 0.1756 | 0.1671 | 0.1542 | 0.166 | 1.4 | 0.1498 | 18 | 0.0113 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 197 | 0.1881 | 0.1869 | 0.1830 | 0.186 | 3.2 | 0.1498 | 18 | 0.0113 | 0 |
| Total Δ9-THC (%AR) | 006.03 | AOAC 2018.11, M | 139 | 0.6238 | 0.6186 | 0.6105 | 0.618 | 41.46 | 0.1498 | 18 | 0.0113 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Total CBD (%AR) |  |  |  |  |  |  |  |  |
| Total CBD (%AR) | 007.10 | Other LC-UV | 142 | 2.1300 | 0.2130 | 0.2130 | 0.852 | -6.16 | 1.937 | 16 | 0.1761 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 189 | 1.7182 | 1.7158 | 1.7088 | 1.71 | -1.26 | 1.937 | 16 | 0.1761 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 210 | 1.7710 | 1.7710 | 1.7820 | 1.77 | -0.92 | 1.937 | 16 | 0.1761 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 149 | 1.9190 | 1.6360 | 1.7740 | 1.78 | -0.91 | 1.937 | 16 | 0.1761 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 192 | 1.8246 | 1.8356 | 1.7865 | 1.82 | -0.69 | 1.937 | 16 | 0.1761 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 149 | 1.8210 | 1.7750 | 1.8890 | 1.83 | -0.62 | 1.937 | 16 | 0.1761 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 173 | 1.9500 | 1.9490 | 1.9490 | 1.95 | 0.07 | 1.937 | 16 | 0.1761 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 196 | 2.0013 | 1.8853 | 1.9846 | 1.96 | 0.11 | 1.937 | 16 | 0.1761 | 0 |
| Total CBD (%AR) | 007.03 | AOAC 2018.11, M | 139 | 1.9580 | 1.9901 | 1.9239 | 1.96 | 0.12 | 1.937 | 16 | 0.1761 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 162 | 2.0169 | 1.9962 | 1.9770 | 2 | 0.34 | 1.937 | 16 | 0.1761 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 103 | 2.1341 | 2.0390 | 1.9689 | 2.05 | 0.63 | 1.937 | 16 | 0.1761 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 197 | 2.0958 | 2.0428 | 2.0299 | 2.06 | 0.68 | 1.937 | 16 | 0.1761 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 183 | 2.0100 | 2.0600 | 2.1300 | 2.07 | 0.74 | 1.937 | 16 | 0.1761 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 199 | 2.0985 | 2.0755 | 2.0850 | 2.09 | 0.85 | 1.937 | 16 | 0.1761 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 125 | 2.1033 | 2.0987 | 2.0716 | 2.09 | 0.88 | 1.937 | 16 | 0.1761 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 138 | 2.3794 | 2.4317 | 2.3114 | 2.37 | 2.48 | 1.937 | 16 | 0.1761 | 0 |
|  |  |  |  | CBDV (%AR) |  |  |  |  |  |  |  |  |
| CBDV (%AR) | 008.99 | Other | 173 | <0.0510 | <0.0490 | <0.0500 | <0.0510 |  |  |  |  | 1 |
| CBDV (%AR) | 008.99 | Other | 149 | 0.0280 | 0.0210 | 0.0250 | 0.0247 | -1.38 | 0.0282 | 9 | 0.0026 | 0 |
| CBDV (%AR) | 008.99 | Other | 196 | 0.0264 | 0.0246 | 0.0259 | 0.0256 | -1 | 0.0282 | 9 | 0.0026 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDV (%AR) | 008.99 | Other | 189 | 0.0278 | 0.0277 | 0.0277 | 0.0277 | -0.18 | 0.0282 | 9 | 0.0026 | 0 |
| CBDV (%AR) | 008.99 | Other | 162 | 0.0281 | 0.0262 | 0.0285 | 0.0276 | -0.24 | 0.0282 | 9 | 0.0026 | 0 |
| CBDV (%AR) | 008.99 | Other | 197 | 0.0288 | 0.0271 | 0.0265 | 0.0275 | -0.29 | 0.0282 | 9 | 0.0026 | 0 |
| CBDV (%AR) | 008.99 | Other | 142 | 0.0296 | 0.0291 | 0.0294 | 0.0294 | 0.45 | 0.0282 | 9 | 0.0026 | 0 |
| CBDV (%AR) | 008.02 | AOAC 2018.11, U | 210 | 0.0290 | 0.0300 | 0.0290 | 0.0293 | 0.44 | 0.0282 | 9 | 0.0026 | 0 |
| CBDV (%AR) | 008.99 | Other | 106 | 0.0300 | 0.0300 | 0.0300 | 0.03 | 0.7 | 0.0282 | 9 | 0.0026 | 0 |
| CBDV (%AR) | 008.02 | AOAC 2018.11, U | 183 | 0.0406 | 0.0361 | 0.0481 | 0.0416 | 5.22 | 0.0282 | 9 | 0.0026 | 0 |

Population of Lab Values

| CBDVA (%AR) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDVA (%AR) | 009.02 | AOAC 2018.11, U | 183 | <0.0020 | <0.0020 | <0.0020 | <0.0020 | 1 |
| CBDVA (%AR) | 009.99 | Other | 142 | <0.0038 | <0.0038 | <0.0038 | <0.0038 | 1 |
| CBDVA (%AR) | 009.99 | Other | 197 | <0.0096 | <0.0093 | <0.0093 | <0.0096 | 1 |
| CBDVA (%AR) | 009.02 | AOAC 2018.11, U | 210 | <0.0120 | <0.0120 | <0.0120 | <0.0120 | 1 |
| CBDVA (%AR) | 009.99 | Other | 196 | <0.0210 | <0.0210 | <0.0210 | <0.0210 | 1 |
| CBDVA (%AR) | 009.99 | Other | 149 | <0.0400 | <0.0400 | <0.0400 | <0.0400 | 1 |
| CBDVA (%AR) | 009.99 | Other | 173 | 0.0000 | 0.0000 | 0.0000 | 0 | 0 |

|  |  |  | CBG (%AR) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%AR) | 010.99 | Other | 106 | <0.0300 | <0.0300 | <0.0300 | <0.0300 |  |  |  |  | 1 |
| CBG (%AR) | 010.99 | Other | 173 | <0.0510 | <0.0490 | <0.0500 | <0.0510 |  |  |  |  | 1 |
| CBG (%AR) | 010.99 | Other | 197 | 0.0296 | 0.0194 | 0.0146 | 0.0212 | -1.92 | 0.0339 | 9 | 0.0066 | 0 |
| CBG (%AR) | 010.99 | Other | 149 | 0.0360 | 0.0300 | 0.0200 | 0.0287 | -0.79 | 0.0339 | 9 | 0.0066 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%AR) | 010.99 | Other | 162 | 0.0318 | 0.0301 | 0.0321 | 0.0313 | -0.38 | 0.0339 | 9 | 0.0066 | 0 |
| CBG (%AR) | 010.99 | Other | 142 | 0.0321 | 0.0321 | 0.0308 | 0.0317 | -0.33 | 0.0339 | 9 | 0.0066 | 0 |
| CBG (%AR) | 010.99 | Other | 196 | 0.0359 | 0.0328 | 0.0336 | 0.0341 | 0.04 | 0.0339 | 9 | 0.0066 | 0 |
| CBG (%AR) | 010.02 | AOAC 2018.11, U | 183 | 0.0360 | 0.0385 | 0.0337 | 0.0361 | 0.33 | 0.0339 | 9 | 0.0066 | 0 |
| CBG (%AR) | 010.02 | AOAC 2018.11, U | 125 | 0.0345 | 0.0364 | 0.0378 | 0.0362 | 0.36 | 0.0339 | 9 | 0.0066 | 0 |
| CBG (%AR) | 010.02 | AOAC 2018.11, U | 210 | 0.0400 | 0.0380 | 0.0390 | 0.039 | 0.78 | 0.0339 | 9 | 0.0066 | 0 |
| CBG (%AR) | 010.99 | Other | 189 | 0.0481 | 0.0472 | 0.0488 | 0.048 | 2.14 | 0.0339 | 9 | 0.0066 | 0 |

Population of Lab Values

| CBGA (%AR) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBGA (%AR) | 011.02 | AOAC 2018.11, U | 125 | <0.0020 | <0.0020 | <0.0020 | <0.0020 | 1 |
| CBGA (%AR) | 011.99 | Other | 142 | <0.0038 | <0.0038 | <0.0038 | <0.0038 | 1 |
| CBGA (%AR) | 011.02 | AOAC 2018.11, U | 183 | <0.0050 | <0.0050 | <0.0050 | <0.0050 | 1 |
| CBGA (%AR) | 011.99 | Other | 189 | <0.0050 | <0.0050 | <0.0050 | <0.0050 | 1 |
| CBGA (%AR) | 011.99 | Other | 197 | <0.0096 | <0.0093 | <0.0093 | <0.0096 | 1 |
| CBGA (%AR) | 011.99 | Other | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| CBGA (%AR) | 011.02 | AOAC 2018.11, U | 210 | <0.0120 | <0.0120 | <0.0120 | <0.0120 | 1 |
| CBGA (%AR) | 011.99 | Other | 196 | <0.0210 | <0.0210 | <0.0210 | <0.0210 | 1 |
| CBGA (%AR) | 011.99 | Other | 106 | <0.0300 | <0.0300 | <0.0300 | <0.0300 | 1 |
| CBGA (%AR) | 011.99 | Other | 149 | <0.0400 | <0.0400 | <0.0400 | <0.0400 | 1 |
| CBGA (%AR) | 011.99 | Other | 173 | 0.0000 | 0.0000 | 0.0000 | 0 | 0 |

| Analyte | Code | Method | Lab Num |  | Result1 | Result2 | Result3 | Lab Value | Z score Rob Mean |  | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | THCV (%AR) |  |  |  |  |  |  |  |  |  |  |
| THCV (%AR) | 012.99 | Other |  | 142 | <0.0038 | <0.0038 | <0.0038 | <0.0038 | 1 |  |  |  |  |
| THCV (%AR) | 012.02 | AOAC 2018.11, U |  | 183 | <0.0070 | <0.0070 | <0.0070 | <0.0070 | 1 |  |  |  |  |
| THCV (%AR) | 012.99 | Other |  | 197 | <0.0096 | <0.0093 | <0.0093 | <0.0096 | 1 |  |  |  |  |
| THCV (%AR) | 012.02 | AOAC 2018.11, U |  | 210 | <0.0120 | <0.0120 | <0.0120 | <0.0120 | 1 |  |  |  |  |
| THCV (%AR) | 012.99 | Other |  | 196 | <0.0210 | <0.0210 | <0.0210 | <0.0210 | 1 |  |  |  |  |
| THCV (%AR) | 012.99 | Other |  | 106 | <0.0300 | <0.0300 | <0.0300 | <0.0300 | 1 |  |  |  |  |
| THCV (%AR) | 012.99 | Other |  | 173 | 0.0000 | 0.0000 | 0.0000 | 0 | 0 |  |  |  |  |
| THCV (%AR) | 012.99 | Other |  | 189 | 0.0071 | 0.0047 | 0.0075 | 0.0064 | 0 |  |  |  |  |

Population of Lab Values

| Δ8-THC (%AR) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ8-THC (%AR) | 013.99 | Other | 189 | 0.3549 | 0.3511 | 0.3503 | 0.352 | -2.37 | 0.4165 | 14 | 0.0272 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 149 | 0.3770 | 0.3840 | 0.3650 | 0.375 | -1.51 | 0.4165 | 14 | 0.0272 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 196 | 0.4021 | 0.3793 | 0.3963 | 0.393 | -0.88 | 0.4165 | 14 | 0.0272 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 173 | 0.4040 | 0.4010 | 0.3970 | 0.401 | -0.58 | 0.4165 | 14 | 0.0272 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 162 | 0.4211 | 0.3878 | 0.4174 | 0.409 | -0.28 | 0.4165 | 14 | 0.0272 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 142 | 0.4140 | 0.4130 | 0.4020 | 0.41 | -0.25 | 0.4165 | 14 | 0.0272 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 197 | 0.4354 | 0.4209 | 0.4189 | 0.425 | 0.32 | 0.4165 | 14 | 0.0272 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 138 | 0.4293 | 0.4247 | 0.4237 | 0.426 | 0.35 | 0.4165 | 14 | 0.0272 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 106 | 0.4300 | 0.4200 | 0.4300 | 0.427 | 0.37 | 0.4165 | 14 | 0.0272 | 0 |
| Δ8-THC (%AR) | 013.02 | AOAC 2018.11, U | 183 | 0.4310 | 0.4180 | 0.4310 | 0.427 | 0.37 | 0.4165 | 14 | 0.0272 | 0 |
| Δ8-THC (%AR) | 013.02 | AOAC 2018.11, U | 199 | 0.4335 | 0.4260 | 0.4255 | 0.428 | 0.44 | 0.4165 | 14 | 0.0272 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score Rob Mean |  | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ8-THC (%AR) | 013.02 | AOAC 2018.11, U | 210 | 0.4180 | 0.4430 | 0.4410 | 0.434 | 0.64 | 0.4165 | 14 | 0.0272 | 0 |
| Δ8-THC (%AR) | 013.03 | AOAC 2018.11, M | 139 | 0.4462 | 0.4447 | 0.4401 | 0.444 | 1 | 0.4165 | 14 | 0.0272 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 213 | 0.5125 | 0.5730 | 0.6275 | 0.571 | 5.68 | 0.4165 | 14 | 0.0272 | 0 |

Population of Lab Values

| CBC (%AR) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%AR) | 014.99 | Other | 149 | 0.0810 | 0.0840 | 0.0790 | 0.0813 | -1.24 | 0.0867 | 10 | 0.0043 | 0 |
| CBC (%AR) | 014.99 | Other | 189 | 0.0820 | 0.0817 | 0.0816 | 0.0818 | -1.14 | 0.0867 | 10 | 0.0043 | 0 |
| CBC (%AR) | 014.99 | Other | 142 | 0.0851 | 0.0843 | 0.0818 | 0.0837 | -0.69 | 0.0867 | 10 | 0.0043 | 0 |
| CBC (%AR) | 014.02 | AOAC 2018.11, U | 183 | 0.0871 | 0.0873 | 0.0819 | 0.0854 | -0.29 | 0.0867 | 10 | 0.0043 | 0 |
| CBC (%AR) | 014.99 | Other | 162 | 0.0880 | 0.0849 | 0.0863 | 0.0864 | -0.07 | 0.0867 | 10 | 0.0043 | 0 |
| CBC (%AR) | 014.99 | Other | 196 | 0.0886 | 0.0841 | 0.0888 | 0.0872 | 0.1 | 0.0867 | 10 | 0.0043 | 0 |
| CBC (%AR) | 014.99 | Other | 173 | 0.0870 | 0.0890 | 0.0870 | 0.0877 | 0.22 | 0.0867 | 10 | 0.0043 | 0 |
| CBC (%AR) | 014.99 | Other | 197 | 0.0910 | 0.0914 | 0.0888 | 0.0904 | 0.85 | 0.0867 | 10 | 0.0043 | 0 |
| CBC (%AR) | 014.99 | Other | 106 | 0.0900 | 0.0900 | 0.0900 | 0.09 | 0.76 | 0.0867 | 10 | 0.0043 | 0 |
| CBC (%AR) | 014.02 | AOAC 2018.11, U | 125 | 0.0933 | 0.0948 | 0.0916 | 0.0932 | 1.5 | 0.0867 | 10 | 0.0043 | 0 |

|  |  |  | Cd (ug/g AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cd (ug/g AR) | 101.04 | ICP-MS | 183 | <0.0010 | <0.0010 | <0.0010 | <0.0010 | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 196 | <0.0482 | <0.0482 | <0.0482 | <0.0482 | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 106 | <0.0800 | <0.0800 | <0.0800 | <0.0800 | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 197 | <0.0943 | <0.0988 | <0.0942 | <0.0943 | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 | <0.2000 | 1 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cd (ug/g AR) | 101.04 | ICP-MS | 142 | 0.0016 | 0.0014 | 0.0008 | 0.0013 |  |  |  |  | 0 |
|  |  |  |  | As (ug/g AR) |  |  |  |  |  |  |  |  |
| As (ug/g AR) | 102.04 | ICP-MS | 183 | <0.0020 | <0.0020 | <0.0020 | <0.0020 |  |  |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 106 | <0.0800 | <0.0800 | <0.0800 | <0.0800 |  |  |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 197 | <0.0943 | <0.0988 | <0.0942 | <0.0943 |  |  |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 196 | <0.0963 | <0.0963 | <0.0963 | <0.0963 |  |  |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 | <0.2000 |  |  |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 142 | 0.0170 | 0.0135 | 0.0104 | 0.0136 |  |  |  |  | 0 |
|  |  |  |  | Hg (ug/g AR) |  |  |  |  |  |  |  |  |
| Hg (ug/g AR) | 103.04 | ICP-MS | 106 | <0.0080 | <0.0080 | <0.0080 | <0.0080 |  |  |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 183 | <0.0120 | <0.0120 | <0.0120 | <0.0120 |  |  |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 196 | <0.0144 | <0.0144 | <0.0144 | <0.0144 |  |  |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 197 | <0.0943 | <0.0988 | <0.0942 | <0.0943 |  |  |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 | <0.2000 |  |  |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 142 | 0.0011 | 0.0060 | <0.0005 | 0.0025 |  |  |  |  | 0 |
|  |  |  |  | Pb (ug/g AR) |  |  |  |  |  |  |  |  |
| Pb (ug/g AR) | 104.04 | ICP-MS | 142 | <0.0005 | <0.0005 | <0.0050 | <0.0005 |  |  |  |  | 1 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 183 | <0.0020 | <0.0020 | <0.0020 | <0.0020 |  |  |  |  | 1 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 196 | <0.0482 | <0.0482 | <0.0482 | <0.0482 |  |  |  |  | 1 |

Population of Lab Values

|  |  |  | Lab |  |  |  | Lab |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | Value | Z score |  | Rob Mean | n | Rob StDev | Flag |
| Pb (ug/g AR) | 104.04 | ICP-MS | 106 | <0.0800 | <0.0800 | <0.0800 | <0.0800 | 1 |  |  |  |  |  |
| Pb (ug/g AR) | 104.04 | ICP-MS | 197 | <0.0943 | <0.0988 | <0.0942 | <0.0943 | 1 |  |  |  |  |  |
| Pb (ug/g AR) | 104.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 | <0.2000 | 1 |  |  |  |  |  |
|  |  |  |  | Cu (ug/g AR) |  |  |  |  |  |  |  |  |  |
| Cu (ug/g AR) | 105.04 | ICP-MS | 196 | <0.9786 <0.9786 <0.9786 |  |  | <0.9786 | 1 |  |  |  |  |  |
|  |  |  |  | Ni (ug/g AR) |  |  |  |  |  |  |  |  |  |
| Ni (ug/g AR) | 106.04 | ICP-MS | 196 | <0.1445 <0.1445 <0.1445 |  |  | <0.1445 | 1 |  |  |  |  |  |
| Ni (ug/g AR) | 106.04 | ICP-MS | 183 | 0.0860 | 0.1010 | 0.0950 | 0.094 | 0 |  |  |  |  |  |
|  |  |  |  | Cr (ug/g AR) |  |  |  |  |  |  |  |  |  |
| Cr (ug/g AR) | 107.04 | ICP-MS | 196 | <0.1445 <0.1445 <0.1445 |  |  | <0.1445 | 1 |  |  |  |  |  |
|  |  |  |  | Se (ug/g AR) |  |  |  |  |  |  |  |  |  |
| Se (ug/g AR) | 108.04 | ICP-MS | 197 | <0.0943 <0.0988 <0.0942 |  |  | <0.0943 | 1 |  |  |  |  |  |
| Se (ug/g AR) | 108.04 | ICP-MS | 196 | <0.1927 <0.1927 <0.1927 |  |  | <0.1927 | 1 |  |  |  |  |  |
|  |  |  |  | Zn (ug/g AR) |  |  |  |  |  |  |  |  |  |
| Zn (ug/g AR) | 111.04 | ICP-MS | 196 | 10.0000 10.0000 <10.0000 |  |  | <10.0000 | 1 |  |  |  |  |  |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Sb (ug/g AR) |  |  |  |  |  |  |  |  |
| Sb (ug/g AR) | 112.04 | ICP-MS | 196 | <0.0482 <0.0482 <0.0482 |  |  | <0.0482 |  |  |  |  | 1 |
|  |  |  |  | (-)-alpha-Bisabolol (%AR) |  |  |  |  |  |  |  |  |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| (-)-alpha-Bisabolol (%A | 201.01 | GC,FID | 142 | 0.0186 | 0.0176 | 0.0177 | 0.018 |  |  |  |  | 0 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 196 | 0.0225 | 0.0220 | 0.0183 | 0.0209 |  |  |  |  | 0 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 183 | 0.0211 | 0.0300 | 0.0224 | 0.0245 |  |  |  |  | 0 |
|  |  |  |  | beta-Caryophyllene (%AR) |  |  |  |  |  |  |  |  |
| beta-Caryophyllene (% | 202.01 | GC,FID | 142 | <0.0010 | <0.0010 | <0.0010 | <0.0010 |  |  |  |  | 1 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 183 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 196 | 0.0078 | 0.0082 | 0.0081 | 0.008 |  |  |  |  | 0 |
|  |  |  | (-)-Caryophyllene oxide (%AR) |  |  |  |  |  |  |  |  |  |
| (-)-Caryophyllene oxide | 203.01 | GC,FID | 142 | <0.0050 | <0.0050 | <0.0050 | <0.0050 |  |  |  |  | 1 |
| (-)-Caryophyllene oxide | 203.02 | GC,MS | 196 | <0.0158 | <0.0158 | <0.0158 | <0.0158 |  |  |  |  | 1 |
| (-)-Caryophyllene oxide | 203.02 | GC,MS | 183 | 0.0108 | 0.0094 | 0.0089 | 0.0097 |  |  |  |  | 0 |
|  |  |  |  | Geraniol (%AR) |  |  |  |  |  |  |  |  |
| Geraniol (%AR) | 204.01 | GC,FID | 142 | <0.0010 <0.0010 <0.0010 |  |  | <0.0010 |  |  |  |  | 1 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Geraniol (%AR) | 204.02 | GC,MS | 183 | <0.0020 | <0.0020 | <0.0020 | <0.0020 |  |  |  |  | 1 |
| Geraniol (%AR) | 204.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| Geraniol (%AR) | 204.02 | GC,MS | 196 | <0.5040 | <0.5040 | <0.5040 | <0.5040 |  |  |  |  | 1 |
|  |  |  |  | alpha-Humulene (%AR) |  |  |  |  |  |  |  |  |
| alpha-Humulene (%AR) | 205.01 | GC,FID | 142 | <0.0010 | <0.0010 | <0.0010 | <0.0010 |  |  |  |  | 1 |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 183 | <0.0020 | <0.0020 | <0.0020 | <0.0020 |  |  |  |  | 1 |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 196 | <0.0078 | <0.0078 | <0.0078 | <0.0078 |  |  |  |  | 1 |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
|  |  |  |  | d-Limonene (%AR) |  |  |  |  |  |  |  |  |
| d-Limonene (%AR) | 206.01 | GC,FID | 142 | <0.0010 | <0.0010 | <0.0010 | <0.0010 |  |  |  |  | 1 |
| d-Limonene (%AR) | 206.02 | GC,MS | 183 | <0.0020 | <0.0020 | <0.0020 | <0.0020 |  |  |  |  | 1 |
| d-Limonene (%AR) | 206.02 | GC,MS | 196 | <0.0078 | <0.0078 | <0.0078 | <0.0078 |  |  |  |  | 1 |
| d-Limonene (%AR) | 206.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
|  |  |  |  | Linalool (%AR) |  |  |  |  |  |  |  |  |
| Linalool (%AR) | 207.01 | GC,FID | 142 | <0.0010 | <0.0010 | <0.0010 | <0.0010 |  |  |  |  | 1 |
| Linalool (%AR) | 207.02 | GC,MS | 183 | <0.0020 | <0.0020 | <0.0020 | <0.0020 |  |  |  |  | 1 |
| Linalool (%AR) | 207.02 | GC,MS | 196 | <0.0078 | <0.0078 | <0.0078 | <0.0078 |  |  |  |  | 1 |
| Linalool (%AR) | 207.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |

Population of Lab Values

| Analyte | Code |  | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | beta-Myrcene (%AR) |  |  |  |  |  |  |  |  |  |
| beta-Myrcene (%AR) |  | 208.01 | GC,FID | 142 | <0.0010 | <0.0010 | <0.0010 | <0.0010 | 1 |  |  |  |  |
| beta-Myrcene (%AR) |  | 208.02 | GC,MS | 183 | <0.0020 | <0.0020 | <0.0020 | <0.0020 | 1 |  |  |  |  |
| beta-Myrcene (%AR) |  | 208.02 | GC,MS | 196 | <0.0078 | <0.0078 | <0.0078 | <0.0078 | 1 |  |  |  |  |
| beta-Myrcene (%AR) |  | 208.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |  |  |  |  |

Population of Lab Values

Nopinene (%AR)

Nopinene (%AR)

209.01	GC,FID

142

<0.0010  <0.0010	<0.0010	<0.0010	1

|  |  |  | Ocimene (%AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Ocimene (%AR) | 210.01 | GC,FID | 142 | <0.0010 | <0.0010 | <0.0010 | <0.0010 | 1 |
| Ocimene (%AR) | 210.02 | GC,MS | 183 | <0.0020 | <0.0020 | <0.0020 | <0.0020 | 1 |
| Ocimene (%AR) | 210.02 | GC,MS | 196 | <0.0078 | <0.0078 | <0.0078 | <0.0078 | 1 |
| Ocimene (%AR) | 210.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |

|  |  |  | alpha-Pinene (%AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| alpha-Pinene (%AR) | 211.01 | GC,FID | 142 | <0.0010 | <0.0010 | <0.0010 | <0.0010 | 1 |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 183 | <0.0020 | <0.0020 | <0.0020 | <0.0020 | 1 |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 196 | <0.0078 | <0.0078 | <0.0078 | <0.0078 | 1 |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | (-)-beta-Pinene (%AR) |  |  |  |  |  |  |  |  |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 183 | <0.0020 | <0.0020 | <0.0020 | <0.0020 |  |  |  |  | 1 |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 196 | <0.0078 | <0.0078 | <0.0078 | <0.0078 |  |  |  |  | 1 |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
|  |  |  |  | alpha-Terpinene (%AR) |  |  |  |  |  |  |  |  |
| alpha-Terpinene (%AR) | 213.01 | GC,FID | 142 | <0.0010 | <0.0010 | <0.0010 | <0.0010 |  |  |  |  | 1 |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 183 | <0.0020 | <0.0020 | <0.0020 | <0.0020 |  |  |  |  | 1 |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 196 | <0.0078 | <0.0078 | <0.0078 | <0.0078 |  |  |  |  | 1 |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
|  |  |  |  | gamma-Terpinene (%AR) |  |  |  |  |  |  |  |  |
| gamma-Terpinene (%A | 214.02 | GC,MS | 183 | <0.0020 | <0.0020 | <0.0020 | <0.0020 |  |  |  |  | 1 |
| gamma-Terpinene (%A | 214.02 | GC,MS | 196 | <0.0078 | <0.0078 | <0.0078 | <0.0078 |  |  |  |  | 1 |
| gamma-Terpinene (%A | 214.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
|  |  |  |  | alpha-Terpinolene (%AR) |  |  |  |  |  |  |  |  |
| alpha-Terpinolene (%A | 215.01 | GC,FID | 142 | <0.0010 | <0.0010 | <0.0010 | <0.0010 |  |  |  |  | 1 |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 183 | <0.0020 | <0.0020 | <0.0020 | <0.0020 |  |  |  |  | 1 |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 196 | <0.0078 | <0.0078 | <0.0078 | <0.0078 |  |  |  |  | 1 |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |

Population of Lab Values

Moisture (%AR)

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

Value	Z score

Population of Lab Values	 Rob Mean	n	Rob StDev

Flag

Moisture (%AR)

500.99	Other

142

2.2000	3.0000	1.8000	2.33	0

- Flag definitions: 1 (Lab Value not used because there were less than 2 numeric lab results), 2 (Lab Value not used because there were less than 2 numeric lab results greater than 0).

- Robust statistics performed to determine robust mean and Z scores only if there were 6 or more numeric lab values.

- AR refers to concentration on as-received basis. DW refers to concentration on dry weight basis.