# Hemp PT Certificate of Analysis

## Hemp PT Sample OL24SEP-1 Material: hemp

Analyte	Value

± Standard

Uncertainty	# Labs

% as received

| Δ9-THC | 0.1873 | 0.0060 | 24 |
| --- | --- | --- | --- |
| CBD | 7.079 | 0.139 | 23 |
| CBDA | 0.03354 | 0.00270 | 17 |
| CBN | 0.04060 | 0.00203 | 15 |
| Total Δ9-THC | 0.1905 | 0.0047 | 21 |
| Total CBD | 7.280 | 0.129 | 19 |
| CBDV | 0.06818 | 0.00380 | 10 |
| CBG | 0.08851 | 0.00490 | 11 |
| CBC | 0.3309 | 0.0062 | 11 |

- Data obtained from participant results in the University of Kentucky Hemp PT Program.

- Sample was shipped on 9/9/24. Stored at room temperature until 10/18/24. Stored at -20 C after 10/18/24.

- Values are robust means. Standard uncertainty determined as 1.25 x robust standard deviation / sqrt(#Labs). Results only shown for analytes tested by 6 or more labs.