Hemp Proficiency Testing

All Labs Precision OL24SEP-1 (oil)

Sample: OL24SEP-1 (oil)

All Labs Precision

Issue Date:

ovember 11, 2024

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

Δ9-THC (%AR)

RSDr	HorRat(r)

Population of Lab RSDr	 Rob Mean	min	max

Flag

| Δ9-THC (%AR) | 001.10 | Other LC-UV | 106 | 0.1700 | 0.1700 | 0.1700 | 0 | 0 | 2.95 | 0 | 24.2 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 142 | 0.1860 | 0.1860 | 0.1850 | 0.31 | 0.06 | 2.95 | 0 | 24.2 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 183 | 0.1947 | 0.1920 | 0.1931 | 0.7 | 0.14 | 2.95 | 0 | 24.2 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 199 | 0.2265 | 0.2245 | 0.2280 | 0.78 | 0.16 | 2.95 | 0 | 24.2 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 228 | 0.0791 | 0.0802 | 0.0786 | 1.03 | 0.18 | 2.95 | 0 | 24.2 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 163 | 0.2090 | 0.2100 | 0.2060 | 1 | 0.2 | 2.95 | 0 | 24.2 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 170 | 0.2440 | 0.2392 | 0.2401 | 1.06 | 0.21 | 2.95 | 0 | 24.2 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 189 | 0.1917 | 0.1868 | 0.1895 | 1.3 | 0.25 | 2.95 | 0 | 24.2 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 173 | 0.2050 | 0.1980 | 0.1980 | 2.02 | 0.4 | 2.95 | 0 | 24.2 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 103 | 0.1756 | 0.1693 | 0.1667 | 2.68 | 0.52 | 2.95 | 0 | 24.2 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 213 | 0.0810 | 0.0760 | 0.0790 | 3.2 | 0.55 | 2.95 | 0 | 24.2 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 102 | 0.1690 | 0.1790 | 0.1750 | 2.89 | 0.56 | 2.95 | 0 | 24.2 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 162 | 0.2081 | 0.2091 | 0.2193 | 2.92 | 0.58 | 2.95 | 0 | 24.2 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 196 | 0.1890 | 0.1828 | 0.1942 | 3.03 | 0.59 | 2.95 | 0 | 24.2 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 197 | 0.1657 | 0.1778 | 0.1732 | 3.55 | 0.68 | 2.95 | 0 | 24.2 | 0 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 210 | 0.1760 | 0.1860 | 0.1880 | 3.51 | 0.68 | 2.95 | 0 | 24.2 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 149 | 0.1880 | 0.2000 | 0.1880 | 3.61 | 0.71 | 2.95 | 0 | 24.2 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 149 | 0.1660 | 0.1640 | 0.1530 | 4.35 | 0.83 | 2.95 | 0 | 24.2 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 125 | 0.1842 | 0.1721 | 0.1867 | 4.31 | 0.84 | 2.95 | 0 | 24.2 | 0 |
| Δ9-THC (%AR) | 001.99 | Other | 183 | 0.1899 | 0.1745 | 0.1862 | 4.38 | 0.85 | 2.95 | 0 | 24.2 | 0 |
| Δ9-THC (%AR) | 001.03 | AOAC 2018.11, M | 139 | 0.2661 | 0.2868 | 0.2968 | 5.53 | 1.15 | 2.95 | 0 | 24.2 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 192 | 0.2102 | 0.2248 | 0.1783 | 11.6 | 2.3 | 2.95 | 0 | 24.2 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 184 | 0.2120 | 0.1644 | 0.1709 | 14.1 | 2.75 | 2.95 | 0 | 24.2 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 190 | 0.2140 | 0.1650 | 0.1320 | 24.2 | 4.65 | 2.95 | 0 | 24.2 | 0 |

Lab

Population of Lab RSDr

Δ9-THCA (%AR)

| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 125 | <0.0020 | <0.0018 | <0.0018 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 106 | <0.0300 | <0.0300 | <0.0300 | 1 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 190 | <0.0003 | <0.0003 | <0.0003 | 1 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 149 | <0.0040 | <0.0040 | <0.0040 | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 170 | <0.0300 | <0.0300 | <0.0300 | 1 |
| Δ9-THCA (%AR) | 002.03 | AOAC 2018.11, M | 139 | <0.0125 | <0.0125 | <0.0125 | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 149 | <0.0400 | <0.0400 | <0.0400 | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 142 | <0.0040 | <0.0040 | <0.0040 | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 197 | <0.0152 | <0.0150 | 0.0149 | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 183 | <0.0020 | <0.0020 | <0.0020 | 1 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 210 | <0.0240 | <0.0240 | <0.0240 | 1 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) Rob Mean min max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.99 | Other | 183 | <0.0020 | <0.0020 | <0.0020 |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 163 | <0.0200 | <0.0200 | <0.0200 |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 173 | 0.0000 | 0.0000 | 0.0000 | 0 |  | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 199 | <0.0500 | <0.0500 | <0.0500 |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 162 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 196 | <0.0050 | <0.0050 | <0.0050 |  |  | 1 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 102 | <0.0200 | <0.0200 | <0.0190 |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 184 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 228 | 0.0748 | 0.0757 | 0.0712 | 3.22 | 0.55 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 189 | 0.0057 | 0.0031 | 0.0124 | 67.9 | 8.1 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 192 | 0.0000 | 0.0000 | 0.0043 | 173 | 16.25 | 0 |

Lab

Population of Lab RSDr

CBD (%AR)

| CBD (%AR) | 003.10 | Other LC-UV | 189 | 6.7264 | 6.7195 | 6.7363 | 0.13 | 0.04 | 1.4 | 0.13 | 21 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%AR) | 003.01 | AOAC 2018.10 | 228 | 2.3601 | 2.3511 | 2.3625 | 0.26 | 0.07 | 1.4 | 0.13 | 21 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 142 | 7.6600 | 7.7000 | 7.7000 | 0.3 | 0.1 | 1.4 | 0.13 | 21 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 173 | 6.9970 | 7.0440 | 6.9850 | 0.44 | 0.15 | 1.4 | 0.13 | 21 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 197 | 7.5669 | 7.5898 | 7.5089 | 0.55 | 0.19 | 1.4 | 0.13 | 21 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 199 | 7.6165 | 7.6910 | 7.6165 | 0.56 | 0.19 | 1.4 | 0.13 | 21 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 170 | 6.6177 | 6.5285 | 6.5602 | 0.69 | 0.23 | 1.4 | 0.13 | 21 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 183 | 7.2522 | 7.1677 | 7.2605 | 0.71 | 0.24 | 1.4 | 0.13 | 21 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 190 | 6.6450 | 6.7340 | 6.6520 | 0.74 | 0.25 | 1.4 | 0.13 | 21 | 0 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%AR) | 003.99 | Other | 183 | 7.3792 | 7.2603 | 7.3259 | 0.81 | 0.27 | 1.4 | 0.13 | 21 | 0 |
| CBD (%AR) | 003.01 | AOAC 2018.10 | 210 | 7.3160 | 7.3290 | 7.2170 | 0.84 | 0.28 | 1.4 | 0.13 | 21 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 196 | 7.1661 | 7.2943 | 7.2344 | 0.89 | 0.3 | 1.4 | 0.13 | 21 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 162 | 7.1044 | 6.9815 | 6.9581 | 1.12 | 0.38 | 1.4 | 0.13 | 21 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 149 | 6.2660 | 6.2250 | 6.1200 | 1.21 | 0.4 | 1.4 | 0.13 | 21 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 106 | 7.4200 | 7.2700 | 7.2600 | 1.22 | 0.41 | 1.4 | 0.13 | 21 | 0 |
| CBD (%AR) | 003.03 | AOAC 2018.11, M | 139 | 7.2748 | 7.4401 | 7.4452 | 1.31 | 0.44 | 1.4 | 0.13 | 21 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 163 | 8.9200 | 8.9700 | 9.1700 | 1.47 | 0.51 | 1.4 | 0.13 | 21 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 213 | 6.3750 | 6.0910 | 6.1590 | 2.39 | 0.79 | 1.4 | 0.13 | 21 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 103 | 7.0071 | 6.5985 | 7.0822 | 3.77 | 1.26 | 1.4 | 0.13 | 21 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 125 | 6.7970 | 7.1249 | 7.5444 | 5.24 | 1.76 | 1.4 | 0.13 | 21 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 192 | 7.7542 | 8.1019 | 6.9697 | 7.62 | 2.59 | 1.4 | 0.13 | 21 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 149 | 7.3170 | 7.6610 | 6.5130 | 8.22 | 2.77 | 1.4 | 0.13 | 21 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 184 | 8.0260 | 5.2449 | 6.5825 | 21 | 6.99 | 1.4 | 0.13 | 21 | 0 |

Lab

Population of Lab RSDr

CBDA (%AR)

| CBDA (%AR) | 004.10 | Other LC-UV | 192 | 0.0000 | 0.0000 | 0.0000 | 0 |  | 5 | 0 | 25 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%AR) | 004.10 | Other LC-UV | 149 | <0.0400 | <0.0400 | <0.0400 |  |  |  |  |  | 1 |
| CBDA (%AR) | 004.10 | Other LC-UV | 173 | <0.1410 | <0.1530 | <0.1560 |  |  |  |  |  | 1 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 199 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| CBDA (%AR) | 004.10 | Other LC-UV | 170 | <0.0300 | <0.0300 | <0.0300 |  |  |  |  |  | 1 |
| CBDA (%AR) | 004.10 | Other LC-UV | 106 | 0.0300 | 0.0300 | 0.0300 | 0 | 0 | 5 | 0 | 25 | 0 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%AR) | 004.10 | Other LC-UV | 142 | 0.0323 | 0.0315 | 0.0313 | 1.67 | 0.25 | 5 | 0 | 25 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 183 | 0.0425 | 0.0412 | 0.0422 | 1.62 | 0.25 | 5 | 0 | 25 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 103 | 0.0369 | 0.0373 | 0.0383 | 1.92 | 0.29 | 5 | 0 | 25 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 184 | 0.0520 | 0.0514 | 0.0501 | 1.9 | 0.3 | 5 | 0 | 25 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 196 | 0.0258 | 0.0248 | 0.0257 | 2.17 | 0.31 | 5 | 0 | 25 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 163 | 0.0450 | 0.0460 | 0.0440 | 2.22 | 0.35 | 5 | 0 | 25 | 0 |
| CBDA (%AR) | 004.01 | AOAC 2018.10 | 210 | 0.0330 | 0.0350 | 0.0350 | 3.36 | 0.51 | 5 | 0 | 25 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 197 | 0.0268 | 0.0288 | 0.0272 | 3.83 | 0.56 | 5 | 0 | 25 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 149 | 0.0250 | 0.0260 | 0.0240 | 4 | 0.58 | 5 | 0 | 25 | 0 |
| CBDA (%AR) | 004.01 | AOAC 2018.10 | 228 | 0.0322 | 0.0309 | 0.0341 | 4.97 | 0.74 | 5 | 0 | 25 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 162 | 0.0335 | 0.0286 | 0.0308 | 7.93 | 1.18 | 5 | 0 | 25 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 125 | 0.0327 | 0.0324 | 0.0393 | 11.2 | 1.7 | 5 | 0 | 25 | 0 |
| CBDA (%AR) | 004.03 | AOAC 2018.11, M | 139 | 0.0566 | 0.0442 | 0.0489 | 12.5 | 2.01 | 5 | 0 | 25 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 189 | 0.0369 | 0.0297 | 0.0279 | 15.1 | 2.26 | 5 | 0 | 25 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 190 | 0.0350 | 0.0280 | 0.0210 | 25 | 3.66 | 5 | 0 | 25 | 0 |

Lab

Population of Lab RSDr

CBN (%AR)

| CBN (%AR) | 005.30 | GC-FID | 163 | <0.0200 | <0.0200 | <0.0200 |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBN (%AR) | 005.10 | Other LC-UV | 149 | <0.0400 | <0.0400 | <0.0400 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 173 | <0.1410 | <0.1530 | <0.1560 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 199 | <0.0500 | 0.0500 | <0.0500 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 106 | 0.0400 | 0.0400 | 0.0400 | 0 | 0 | 3.86 | 0 | 18.4 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBN (%AR) | 005.10 | Other LC-UV | 189 | 0.0382 | 0.0385 | 0.0381 | 0.54 | 0.08 | 3.86 | 0 | 18.4 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 142 | 0.0400 | 0.0406 | 0.0403 | 0.74 | 0.12 | 3.86 | 0 | 18.4 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 183 | 0.0445 | 0.0441 | 0.0449 | 0.9 | 0.14 | 3.86 | 0 | 18.4 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 197 | 0.0386 | 0.0392 | 0.0392 | 0.89 | 0.14 | 3.86 | 0 | 18.4 | 0 |
| CBN (%AR) | 005.03 | AOAC 2018.11, M | 139 | 0.0372 | 0.0377 | 0.0387 | 2.02 | 0.31 | 3.86 | 0 | 18.4 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 196 | 0.0376 | 0.0361 | 0.0376 | 2.33 | 0.36 | 3.86 | 0 | 18.4 | 0 |
| CBN (%AR) | 005.20 | Other LC-MS | 149 | 0.0360 | 0.0370 | 0.0350 | 2.78 | 0.42 | 3.86 | 0 | 18.4 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 213 | 0.0340 | 0.0340 | 0.0360 | 3.33 | 0.5 | 3.86 | 0 | 18.4 | 0 |
| CBN (%AR) | 005.99 | Other | 183 | 0.0428 | 0.0394 | 0.0417 | 4.2 | 0.65 | 3.86 | 0 | 18.4 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 125 | 0.0474 | 0.0486 | 0.0520 | 4.84 | 0.77 | 3.86 | 0 | 18.4 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 162 | 0.0371 | 0.0407 | 0.0415 | 5.89 | 0.91 | 3.86 | 0 | 18.4 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 192 | 0.0554 | 0.0604 | 0.0476 | 11.8 | 1.92 | 3.86 | 0 | 18.4 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 138 | 0.0416 | 0.0577 | 0.0493 | 16.3 | 2.6 | 3.86 | 0 | 18.4 | 0 |
| CBN (%AR) | 005.20 | Other LC-MS | 190 | 0.0380 | 0.0280 | 0.0280 | 18.4 | 2.75 | 3.86 | 0 | 18.4 | 0 |
|  |  |  |  | Total Δ9-THC (%AR) |  |  |  |  |  |  |  |  |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 163 | <0.0200 | <0.0200 | <0.0200 |  |  |  |  |  | 1 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 142 | 0.1860 | 0.1860 | 0.1850 | 0.31 | 0.06 | 3.57 | 0.31 | 24.2 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 183 | 0.1947 | 0.1920 | 0.1931 | 0.7 | 0.14 | 3.57 | 0.31 | 24.2 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 199 | 0.2265 | 0.2245 | 0.2280 | 0.78 | 0.16 | 3.57 | 0.31 | 24.2 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 173 | 0.2050 | 0.1980 | 0.1980 | 2.02 | 0.4 | 3.57 | 0.31 | 24.2 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 103 | 0.1756 | 0.1693 | 0.1667 | 2.68 | 0.52 | 3.57 | 0.31 | 24.2 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%AR) | 006.50 | GC-MS | 170 | 0.1965 | 0.2058 | 0.1970 | 2.62 | 0.52 | 3.57 | 0.31 | 24.2 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 102 | 0.1690 | 0.1790 | 0.1750 | 2.89 | 0.56 | 3.57 | 0.31 | 24.2 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 189 | 0.1967 | 0.1894 | 0.2004 | 2.86 | 0.56 | 3.57 | 0.31 | 24.2 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 162 | 0.2080 | 0.2090 | 0.2190 | 2.87 | 0.57 | 3.57 | 0.31 | 24.2 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 138 | 0.1813 | 0.1776 | 0.1881 | 2.92 | 0.57 | 3.57 | 0.31 | 24.2 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 196 | 0.1890 | 0.1828 | 0.1942 | 3.03 | 0.59 | 3.57 | 0.31 | 24.2 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 210 | 0.1970 | 0.2070 | 0.2090 | 3.15 | 0.62 | 3.57 | 0.31 | 24.2 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 149 | 0.1880 | 0.2000 | 0.1880 | 3.61 | 0.71 | 3.57 | 0.31 | 24.2 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 149 | 0.1660 | 0.1640 | 0.1530 | 4.35 | 0.83 | 3.57 | 0.31 | 24.2 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 125 | 0.1842 | 0.1721 | 0.1867 | 4.31 | 0.84 | 3.57 | 0.31 | 24.2 | 0 |
| Total Δ9-THC (%AR) | 006.99 | Other | 183 | 0.1899 | 0.1745 | 0.1862 | 4.38 | 0.85 | 3.57 | 0.31 | 24.2 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 197 | 0.1657 | 0.1778 | 0.1863 | 5.86 | 1.13 | 3.57 | 0.31 | 24.2 | 0 |
| Total Δ9-THC (%AR) | 006.03 | AOAC 2018.11, M | 139 | 0.2661 | 0.2868 | 0.2968 | 5.53 | 1.15 | 3.57 | 0.31 | 24.2 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 107 | 0.1740 | 0.1920 | 0.1970 | 6.45 | 1.26 | 3.57 | 0.31 | 24.2 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 192 | 0.2102 | 0.2248 | 0.1821 | 10.6 | 2.09 | 3.57 | 0.31 | 24.2 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 190 | 0.2140 | 0.1650 | 0.1320 | 24.2 | 4.65 | 3.57 | 0.31 | 24.2 | 0 |
|  |  |  |  | Total CBD (%AR) |  |  |  |  |  |  |  |  |
| Total CBD (%AR) | 007.10 | Other LC-UV | 189 | 6.7587 | 6.7455 | 6.7608 | 0.12 | 0.04 | 1.95 | 0.12 | 8.21 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 142 | 7.6900 | 7.7300 | 7.7300 | 0.3 | 0.1 | 1.95 | 0.12 | 8.21 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 173 | 7.0496 | 7.1019 | 7.0446 | 0.45 | 0.15 | 1.95 | 0.12 | 8.21 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 197 | 7.5904 | 7.6151 | 7.5327 | 0.56 | 0.19 | 1.95 | 0.12 | 8.21 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 199 | 7.6384 | 7.7129 | 7.6384 | 0.56 | 0.19 | 1.95 | 0.12 | 8.21 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 183 | 7.2895 | 7.2038 | 7.2976 | 0.72 | 0.24 | 1.95 | 0.12 | 8.21 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 190 | 6.6757 | 6.7586 | 6.6704 | 0.74 | 0.25 | 1.95 | 0.12 | 8.21 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 196 | 7.1887 | 7.3160 | 7.2570 | 0.88 | 0.3 | 1.95 | 0.12 | 8.21 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 162 | 7.1340 | 7.0070 | 6.9850 | 1.14 | 0.38 | 1.95 | 0.12 | 8.21 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 149 | 6.2660 | 6.2250 | 6.1200 | 1.21 | 0.4 | 1.95 | 0.12 | 8.21 | 0 |
| Total CBD (%AR) | 007.03 | AOAC 2018.11, M | 139 | 7.3244 | 7.4789 | 7.4881 | 1.24 | 0.42 | 1.95 | 0.12 | 8.21 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 163 | 6.9500 | 7.1400 | 7.0900 | 1.4 | 0.47 | 1.95 | 0.12 | 8.21 | 0 |
| Total CBD (%AR) | 007.01 | AOAC 2018.10 | 210 | 7.4890 | 7.3600 | 7.2480 | 1.64 | 0.55 | 1.95 | 0.12 | 8.21 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 138 | 8.5155 | 8.8089 | 8.8845 | 2.23 | 0.77 | 1.95 | 0.12 | 8.21 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 103 | 7.0395 | 6.6312 | 7.1158 | 3.76 | 1.26 | 1.95 | 0.12 | 8.21 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 125 | 6.8256 | 7.1533 | 7.5788 | 5.26 | 1.77 | 1.95 | 0.12 | 8.21 | 0 |
| Total CBD (%AR) | 007.50 | GC-MS | 170 | 7.9093 | 8.8064 | 8.4193 | 5.37 | 1.85 | 1.95 | 0.12 | 8.21 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 192 | 7.7542 | 8.1019 | 6.9697 | 7.62 | 2.59 | 1.95 | 0.12 | 8.21 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 149 | 7.3390 | 7.6840 | 6.5340 | 8.21 | 2.77 | 1.95 | 0.12 | 8.21 | 0 |
|  |  |  |  | CBDV (%AR) |  |  |  |  |  |  |  |  |
| CBDV (%AR) | 008.99 | Other | 173 | <0.1410 | <0.1530 | <0.1560 |  |  |  |  |  | 1 |
| CBDV (%AR) | 008.99 | Other | 106 | 0.0800 | 0.0800 | 0.0800 | 0 | 0 | 2.9 | 0 | 13.9 | 0 |
| CBDV (%AR) | 008.02 | AOAC 2018.11, U | 183 | 0.0724 | 0.0717 | 0.0709 | 1.05 | 0.18 | 2.9 | 0 | 13.9 | 0 |
| CBDV (%AR) | 008.99 | Other | 142 | 0.0823 | 0.0820 | 0.0804 | 1.25 | 0.22 | 2.9 | 0 | 13.9 | 0 |
| CBDV (%AR) | 008.99 | Other | 196 | 0.0611 | 0.0594 | 0.0611 | 1.62 | 0.27 | 2.9 | 0 | 13.9 | 0 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDV (%AR) | 008.99 | Other | 149 | 0.0630 | 0.0660 | 0.0640 | 2.37 | 0.39 | 2.9 | 0 | 13.9 | 0 |
| CBDV (%AR) | 008.99 | Other | 183 | 0.0643 | 0.0615 | 0.0647 | 2.75 | 0.46 | 2.9 | 0 | 13.9 | 0 |
| CBDV (%AR) | 008.99 | Other | 189 | 0.0692 | 0.0654 | 0.0709 | 4.11 | 0.69 | 2.9 | 0 | 13.9 | 0 |
| CBDV (%AR) | 008.02 | AOAC 2018.11, U | 210 | 0.0640 | 0.0700 | 0.0660 | 4.58 | 0.77 | 2.9 | 0 | 13.9 | 0 |
| CBDV (%AR) | 008.99 | Other | 197 | 0.0437 | 0.0416 | 0.0459 | 4.92 | 0.77 | 2.9 | 0 | 13.9 | 0 |
| CBDV (%AR) | 008.99 | Other | 162 | 0.0793 | 0.0744 | 0.0602 | 13.9 | 2.35 | 2.9 | 0 | 13.9 | 0 |

Lab

Population of Lab RSDr

CBDVA (%AR)

| CBDVA (%AR) | 009.99 | Other | 142 | <0.0040 | <0.0040 | <0.0040 |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDVA (%AR) | 009.99 | Other | 196 | <0.0050 | <0.0050 | <0.0050 |  | 1 |
| CBDVA (%AR) | 009.99 | Other | 197 | <0.0102 | <0.0100 | <0.0980 |  | 1 |
| CBDVA (%AR) | 009.99 | Other | 173 | 0.0000 | 0.0000 | 0.0000 | 0 | 0 |
| CBDVA (%AR) | 009.02 | AOAC 2018.11, U | 183 | <0.0010 | <0.0010 | <0.0010 |  | 1 |
| CBDVA (%AR) | 009.01 | AOAC 2018.10 | 210 | <0.0240 | <0.0240 | <0.0240 |  | 1 |

CBG (%AR)

| CBG (%AR) | 010.99 | Other | 173 | <0.1410 | <0.1530 | <0.1560 |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%AR) | 010.99 | Other | 106 | 0.0800 | 0.0800 | 0.0800 | 0 | 0 | 2.59 | 0 | 15.4 | 0 |
| CBG (%AR) | 010.99 | Other | 142 | 0.0851 | 0.0849 | 0.0844 | 0.42 | 0.07 | 2.59 | 0 | 15.4 | 0 |
| CBG (%AR) | 010.02 | AOAC 2018.11, U | 183 | 0.0960 | 0.0948 | 0.0956 | 0.64 | 0.11 | 2.59 | 0 | 15.4 | 0 |
| CBG (%AR) | 010.99 | Other | 149 | 0.0700 | 0.0720 | 0.0700 | 1.63 | 0.28 | 2.59 | 0 | 15.4 | 0 |
| CBG (%AR) | 010.99 | Other | 183 | 0.0933 | 0.0905 | 0.0899 | 1.99 | 0.35 | 2.59 | 0 | 15.4 | 0 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%AR) | 010.01 | AOAC 2018.10 | 210 | 0.0950 | 0.0930 | 0.0910 | 2.15 | 0.38 | 2.59 | 0 | 15.4 | 0 |
| CBG (%AR) | 010.99 | Other | 196 | 0.0810 | 0.0775 | 0.0781 | 2.37 | 0.41 | 2.59 | 0 | 15.4 | 0 |
| CBG (%AR) | 010.99 | Other | 189 | 0.1095 | 0.1052 | 0.1014 | 3.85 | 0.69 | 2.59 | 0 | 15.4 | 0 |
| CBG (%AR) | 010.99 | Other | 162 | 0.0756 | 0.0712 | 0.0770 | 4.06 | 0.69 | 2.59 | 0 | 15.4 | 0 |
| CBG (%AR) | 010.02 | AOAC 2018.11, U | 125 | 0.0920 | 0.1021 | 0.0999 | 5.42 | 0.96 | 2.59 | 0 | 15.4 | 0 |
| CBG (%AR) | 010.99 | Other | 197 | 0.0857 | 0.1170 | 0.1022 | 15.4 | 2.74 | 2.59 | 0 | 15.4 | 0 |

Lab

Population of Lab RSDr

CBGA (%AR)

| CBGA (%AR) | 011.99 | Other | 106 | <0.0300 | <0.0300 | <0.0300 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBGA (%AR) | 011.02 | AOAC 2018.11, U | 183 | <0.0010 | <0.0010 | <0.0010 |  |  | 1 |
| CBGA (%AR) | 011.99 | Other | 196 | <0.0050 | <0.0050 | <0.0050 |  |  | 1 |
| CBGA (%AR) | 011.99 | Other | 162 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| CBGA (%AR) | 011.02 | AOAC 2018.11, U | 125 | <0.0020 | <0.0018 | <0.0018 |  |  | 1 |
| CBGA (%AR) | 011.99 | Other | 142 | <0.0040 | <0.0040 | <0.0040 |  |  | 1 |
| CBGA (%AR) | 011.01 | AOAC 2018.10 | 210 | <0.0240 | <0.0240 | <0.0240 |  |  | 1 |
| CBGA (%AR) | 011.99 | Other | 197 | <0.0102 | <0.0100 | <0.0980 |  |  | 1 |
| CBGA (%AR) | 011.99 | Other | 173 | 0.0000 | 0.0000 | 0.0000 | 0 |  | 0 |
| CBGA (%AR) | 011.99 | Other | 189 | 0.0119 | 0.0122 | 0.0105 | 7.87 | 1.01 | 0 |

THCV (%AR)

| THCV (%AR) | 012.99 | Other | 197 | <0.0102 <0.0100 | <0.0980 | 1 |
| --- | --- | --- | --- | --- | --- | --- |
| THCV (%AR) | 012.99 | Other | 142 | <0.0040 <0.0040 | <0.0040 | 1 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| THCV (%AR) | 012.99 | Other | 196 | <0.0050 | <0.0050 | <0.0050 |  |  |  |  |  | 1 |
| THCV (%AR) | 012.02 | AOAC 2018.11, U | 183 | <0.0020 | <0.0020 | <0.0020 |  |  |  |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 106 | <0.0300 | <0.0300 | <0.0300 |  |  |  |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 173 | 0.0000 | 0.0000 | 0.0000 | 0 |  |  |  |  | 0 |
| THCV (%AR) | 012.99 | Other | 183 | <0.0200 | <0.0200 | <0.0200 |  |  |  |  |  | 1 |
| THCV (%AR) | 012.02 | AOAC 2018.11, U | 210 | <0.0230 | <0.0230 | <0.0230 |  |  |  |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 189 | 0.0340 | 0.0319 | 0.0267 | 12.2 | 1.81 |  |  |  | 0 |
|  |  |  |  | Δ8-THC (%AR) |  |  |  |  |  |  |  |  |
| Δ8-THC (%AR) | 013.03 | AOAC 2018.11, M | 139 | <0.0125 | <0.0125 | <0.0125 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 173 | 0.0000 | 0.0000 | 0.0000 | 0 |  |  |  |  | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 197 | <0.0152 | 0.0156 | <0.0144 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 183 | <0.0200 | <0.0200 | <0.0200 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 196 | <0.0050 | <0.0050 | <0.0050 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 106 | <0.0300 | <0.0300 | <0.0300 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 162 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 142 | <0.0040 | <0.0040 | <0.0040 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.01 | AOAC 2018.10 | 210 | <0.0230 | <0.0230 | <0.0230 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.02 | AOAC 2018.11, U | 183 | <0.0030 | <0.0030 | <0.0030 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 189 | 0.0194 | 0.0178 | 0.0185 | 4.32 | 0.6 |  |  |  | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 138 | 0.0599 | 0.0607 | 0.0562 | 4.07 | 0.67 |  |  |  | 0 |
| Δ8-THC (%AR) | 013.01 | AOAC 2018.10 | 228 | 0.1084 | 0.1097 | 0.0997 | 5.13 | 0.92 |  |  |  | 0 |

Population of Lab RSDr

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr	 Rob Mean	min	max

Flag

CBC (%AR)

| CBC (%AR) | 014.99 | Other | 106 | 0.3200 | 0.3200 | 0.3200 | 0 | 0 | 0.93 | 0 | 2.36 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%AR) | 014.99 | Other | 173 | 0.3350 | 0.3370 | 0.3360 | 0.3 | 0.06 | 0.93 | 0 | 2.36 | 0 |
| CBC (%AR) | 014.99 | Other | 189 | 0.3734 | 0.3710 | 0.3719 | 0.33 | 0.07 | 0.93 | 0 | 2.36 | 0 |
| CBC (%AR) | 014.99 | Other | 142 | 0.3220 | 0.3240 | 0.3220 | 0.36 | 0.08 | 0.93 | 0 | 2.36 | 0 |
| CBC (%AR) | 014.99 | Other | 183 | 0.3452 | 0.3418 | 0.3447 | 0.53 | 0.11 | 0.93 | 0 | 2.36 | 0 |
| CBC (%AR) | 014.02 | AOAC 2018.11, U | 183 | 0.3477 | 0.3437 | 0.3434 | 0.7 | 0.15 | 0.93 | 0 | 2.36 | 0 |
| CBC (%AR) | 014.99 | Other | 197 | 0.3281 | 0.3240 | 0.3225 | 0.89 | 0.19 | 0.93 | 0 | 2.36 | 0 |
| CBC (%AR) | 014.99 | Other | 149 | 0.2900 | 0.2920 | 0.2850 | 1.25 | 0.26 | 0.93 | 0 | 2.36 | 0 |
| CBC (%AR) | 014.99 | Other | 196 | 0.3204 | 0.3103 | 0.3169 | 1.62 | 0.34 | 0.93 | 0 | 2.36 | 0 |
| CBC (%AR) | 014.99 | Other | 162 | 0.3378 | 0.3266 | 0.3393 | 2.07 | 0.44 | 0.93 | 0 | 2.36 | 0 |
| CBC (%AR) | 014.02 | AOAC 2018.11, U | 125 | 0.3273 | 0.3355 | 0.3431 | 2.36 | 0.5 | 0.93 | 0 | 2.36 | 0 |

Cd (ug/g AR)

| Cd (ug/g AR) | 101.04 | ICP-MS | 197 | <0.0980 | <0.0980 | <0.0982 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Cd (ug/g AR) | 101.04 | ICP-MS | 142 | <0.0100 | <0.0100 | <0.0100 | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 102 | <0.0032 | <0.0032 | <0.0032 | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 196 | <0.0482 | <0.0482 | <0.0482 | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 106 | <0.0800 | <0.0800 | <0.0800 | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 183 | <0.0010 | <0.0010 | <0.0010 | 1 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | As (ug/g AR) |  |  |  |  |  |  |  |  |
| As (ug/g AR) | 102.04 | ICP-MS | 196 | <0.0963 | <0.0963 | <0.0963 |  |  |  |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 106 | <0.0800 | <0.0800 | <0.0800 |  |  |  |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 102 | <0.0032 | <0.0032 | <0.0032 |  |  |  |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 197 | <0.0980 | <0.0980 | <0.0982 |  |  |  |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 183 | <0.0020 | <0.0020 | <0.0020 |  |  |  |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 |  |  |  |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 142 | 0.0117 | 0.0102 | 0.0117 | 7.73 | 0.99 |  |  |  | 0 |
|  |  |  |  | Hg (ug/g AR) |  |  |  |  |  |  |  |  |
| Hg (ug/g AR) | 103.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 |  |  |  |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 197 | <0.0980 | <0.0980 | <0.0982 |  |  |  |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 106 | <0.0080 | <0.0080 | <0.0080 |  |  |  |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 196 | <0.0145 | <0.0145 | <0.0145 |  |  |  |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 183 | <0.0120 | <0.0120 | <0.0120 |  |  |  |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 142 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| Hg (ug/g AR) | 103.99 | Other | 102 | 0.0040 | 0.0025 | 0.0030 | 24.1 | 2.55 |  |  |  | 0 |
|  |  |  |  | Pb (ug/g AR) |  |  |  |  |  |  |  |  |
| Pb (ug/g AR) | 104.04 | ICP-MS | 197 | <0.0980 <0.0980 |  | <0.0982 |  |  |  |  |  | 1 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 183 | <0.0020 <0.0020 |  | <0.0020 |  |  |  |  |  | 1 |

Population of Lab RSDr

|  |  |  | Lab |  |  |  | Lab |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) |  | Rob Mean | min | max | Flag |
| Pb (ug/g AR) | 104.04 | ICP-MS | 142 | <0.0100 | <0.0100 | <0.0100 | 1 |  |  |  |  |  |  |
| Pb (ug/g AR) | 104.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 | 1 |  |  |  |  |  |  |
| Pb (ug/g AR) | 104.04 | ICP-MS | 106 | <0.0800 | <0.0800 | <0.0800 | 1 |  |  |  |  |  |  |
| Pb (ug/g AR) | 104.04 | ICP-MS | 196 | <0.0482 | <0.0482 | <0.0482 | 1 |  |  |  |  |  |  |
| Pb (ug/g AR) | 104.04 | ICP-MS | 102 | 0.0025 | 0.0043 | 0.0025 | 33.5 | 3.53 |  | 0 |  |  |  |
|  |  |  |  | Cu (ug/g AR) |  |  |  |  |  |  |  |  |  |
| Cu (ug/g AR) | 105.04 | ICP-MS | 196 | <0.9790 <0.9790 |  | <0.9790 |  | 1 |  |  |  |  |  |
|  |  |  |  | Ni (ug/g AR) |  |  |  |  |  |  |  |  |  |
| Ni (ug/g AR) | 106.04 | ICP-MS | 196 | <0.1445 <0.1445 |  | <0.1445 |  | 1 |  |  |  |  |  |
| Ni (ug/g AR) | 106.04 | ICP-MS | 183 | 0.0914 | 0.2610 | 0.1230 | 56.9 | 10.82 |  | 0 |  |  |  |
|  |  |  |  | Cr (ug/g AR) |  |  |  |  |  |  |  |  |  |
| Cr (ug/g AR) | 107.04 | ICP-MS | 196 | <0.1448 <0.1448 |  | <0.1448 |  | 1 |  |  |  |  |  |
|  |  |  |  | Se (ug/g AR) |  |  |  |  |  |  |  |  |  |
| Se (ug/g AR) | 108.04 | ICP-MS | 197 | <0.0980 <0.0980 |  | <0.0982 |  | 1 |  |  |  |  |  |
| Se (ug/g AR) | 108.04 | ICP-MS | 196 | <0.1927 <0.1927 |  | <0.1927 |  | 1 |  |  |  |  |  |
|  |  |  |  | Zn (ug/g AR) |  |  |  |  |  |  |  |  |  |
| Zn (ug/g AR) | 111.04 | ICP-MS | 196 | 10.0000 10.0000 <10.0000 |  |  |  | 1 |  |  |  |  |  |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Sb (ug/g AR) |  |  |  |  |  |  |  |  |
| Sb (ug/g AR) | 112.04 | ICP-MS | 196 | <0.0482 <0.0482 |  | <0.0482 |  |  |  |  |  | 1 |
|  |  |  |  | (-)-alpha-Bisabolol (%AR) |  |  |  |  |  |  |  |  |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 196 | 0.0750 | 0.0772 | 0.0727 | 3 | 0.51 |  |  |  | 0 |
| (-)-alpha-Bisabolol (%A | 201.01 | GC,FID | 142 | 0.0877 | 0.1110 | 0.1080 | 12.4 | 2.21 |  |  |  | 0 |
|  |  |  |  | beta-Caryophyllene (%AR) |  |  |  |  |  |  |  |  |
| beta-Caryophyllene (% | 202.02 | GC,MS | 196 | 0.1313 | 0.1333 | 0.1277 | 2.17 | 0.4 |  |  |  | 0 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 162 | 0.0666 | 0.0602 | 0.0601 | 5.98 | 0.99 |  |  |  | 0 |
| beta-Caryophyllene (% | 202.01 | GC,FID | 142 | 0.1430 | 0.1810 | 0.1750 | 12.3 | 2.35 |  |  |  | 0 |
|  |  |  | (-)-Caryophyllene oxide (%AR) |  |  |  |  |  |  |  |  |  |
| (-)-Caryophyllene oxide | 203.02 | GC,MS | 196 | 0.0332 | 0.0326 | 0.0313 | 3 | 0.45 |  |  |  | 0 |
| (-)-Caryophyllene oxide | 203.01 | GC,FID | 142 | 0.0335 | 0.0414 | 0.0394 | 10.8 | 1.65 |  |  |  | 0 |
|  |  |  |  | Geraniol (%AR) |  |  |  |  |  |  |  |  |
| Geraniol (%AR) | 204.01 | GC,FID | 142 | <0.0010 | <0.0010 | <0.0010 |  |  |  |  |  | 1 |
| Geraniol (%AR) | 204.02 | GC,MS | 196 | <0.5040 | <0.5040 | <0.5040 |  |  |  |  |  | 1 |
| Geraniol (%AR) | 204.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | alpha-Humulene (%AR) |  |  |  |  |  |  |  |  |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 196 | 0.0446 | 0.0464 | 0.0437 | 3.06 | 0.48 |  |  |  | 0 |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 162 | 0.0215 | 0.0189 | 0.0192 | 7.16 | 1 |  |  |  | 0 |
| alpha-Humulene (%AR) | 205.01 | GC,FID | 142 | 0.0671 | 0.0884 | 0.0852 | 14.3 | 2.46 |  |  |  | 0 |
|  |  |  |  | d-Limonene (%AR) |  |  |  |  |  |  |  |  |
| d-Limonene (%AR) | 206.02 | GC,MS | 196 | 0.9351 | 0.9533 | 0.9289 | 1.35 | 0.34 |  |  |  | 0 |
| d-Limonene (%AR) | 206.02 | GC,MS | 162 | 1.0713 | 1.1006 | 1.0400 | 2.83 | 0.72 |  |  |  | 0 |
| d-Limonene (%AR) | 206.01 | GC,FID | 142 | 1.0400 | 1.3000 | 1.2800 | 12 | 3.09 |  |  |  | 0 |
|  |  |  |  | Linalool (%AR) |  |  |  |  |  |  |  |  |
| Linalool (%AR) | 207.02 | GC,MS | 196 | 0.0133 | 0.0128 | 0.0143 | 5.67 | 0.74 |  |  |  | 0 |
| Linalool (%AR) | 207.02 | GC,MS | 162 | 0.0164 | 0.0147 | 0.0143 | 7.37 | 0.98 |  |  |  | 0 |
| Linalool (%AR) | 207.01 | GC,FID | 142 | 0.0160 | 0.0196 | 0.0190 | 10.6 | 1.46 |  |  |  | 0 |
|  |  |  |  | beta-Myrcene (%AR) |  |  |  |  |  |  |  |  |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 162 | 0.0147 | 0.0144 | 0.0145 | 1.05 | 0.14 |  |  |  | 0 |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 196 | 0.0116 | 0.0126 | 0.0124 | 4.34 | 0.56 |  |  |  | 0 |
| beta-Myrcene (%AR) | 208.01 | GC,FID | 142 | 0.0137 | 0.0169 | 0.0172 | 12.2 | 1.64 |  |  |  | 0 |

Population of Lab RSDr

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr	 Rob Mean	min	max

Flag

Nopinene (%AR)

| Nopinene (%AR) | 209.01 | GC,FID | 142 | 0.0498 | 0.0618 | 0.0609 | 11.6 | 1.9 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Ocimene (%AR)

| Ocimene (%AR) | 210.01 | GC,FID | 142 | <0.0010 | <0.0010 | <0.0010 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Ocimene (%AR) | 210.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | 1 |
| Ocimene (%AR) | 210.02 | GC,MS | 196 | <0.0078 | <0.0078 | <0.0078 | 1 |

alpha-Pinene (%AR)

| alpha-Pinene (%AR) | 211.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 196 | 0.0098 | 0.0101 | 0.0099 | 1.54 | 0.19 | 0 |
| alpha-Pinene (%AR) | 211.01 | GC,FID | 142 | 0.0117 | 0.0140 | 0.0139 | 9.85 | 1.29 | 0 |

(-)-beta-Pinene (%AR)

| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 162 | 0.0509 | 0.0507 | 0.0505 | 0.39 | 0.06 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 196 | 0.0393 | 0.0399 | 0.0393 | 0.88 | 0.14 | 0 |

alpha-Terpinene (%AR)

| alpha-Terpinene (%AR) | 213.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 196 | <0.0078 | <0.0078 | <0.0078 | 1 |
| alpha-Terpinene (%AR) | 213.01 | GC,FID | 142 | <0.0010 | <0.0010 | <0.0010 | 1 |

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr	 Rob Mean	min	max

Flag

gamma-Terpinene (%AR)

| gamma-Terpinene (%A | 214.02 | GC,MS | 196 | 0.0371 | 0.0380 | 0.0376 | 1.2 | 0.18 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| gamma-Terpinene (%A | 214.02 | GC,MS | 162 | 0.0387 | 0.0372 | 0.0371 | 2.38 | 0.36 | 0 |

alpha-Terpinolene (%AR)

| alpha-Terpinolene (%A | 215.02 | GC,MS | 196 | <0.0078 | <0.0078 | <0.0078 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| alpha-Terpinolene (%A | 215.01 | GC,FID | 142 | 0.0075 | 0.0093 | 0.0092 | 11.7 | 1.43 | 0 |

Moisture (%AR)

| Moisture (%AR) | 500.99 | Other | 142 | 4.5000 | 4.0000 | 4.7000 | 8.19 | 2.56 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

- Flag definitions: 1 (Lab RSDr not calculated because there were less than 3 numeric lab results)

- Statistical parameters of robust mean, minimum, and maximum for RSDr only shown only if there were 6 or more lab RSDr values.

- AR refers to concentration on as-received basis. DW refers to concentration on dry weight basis.c