# Hemp PT Certificate of Analysis

## Hemp PT Sample OL25SEP-1 Material: Oil

Analyte	Value

± Standard

Uncertainty	# Labs

% as received

| Δ9-THC | 0.03140 | 0.00330 | 14 |
| --- | --- | --- | --- |
| CBD | 0.5510 | 0.0172 | 14 |
| CBN | 0.00484 | 0.00077 | 7 |
| Total Δ9-THC | 0.03054 | 0.00378 | 13 |
| Total CBD | 0.5607 | 0.0193 | 13 |
| Δ8-THC | 0.2876 | 0.0045 | 11 |

- Data obtained from participant results in the University of Kentucky Hemp PT Program.

- Sample was shipped on 09/16/25. Stored at room temperature until 10/30/25. Stored at -20 C after 10/30/25.

- Values are robust means. Standard uncertainty determined as 1.25 x robust standard deviation / sqrt(#Labs). Results only shown for analytes tested by 6 or more labs.