Hemp Proficiency Testing

All Labs Precision OL25SEP-1 (Oil)

Sample: OL25SEP-1 (Oil)

All Labs Precision

Issue Date:

December 3, 2025

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

Δ9-THC (%AR)

RSDr	HorRat(r)

Population of Lab RSDr Rob Mean	min	max

Flag

| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 199 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 102 | <0.0480 | <0.0490 | <0.0500 |  |  |  |  |  | 1 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 184 | 0.0322 | 0.0327 | 0.0326 | 0.81 | 0.12 | 8.68 | 0.81 | 71.7 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 162 | 0.0178 | 0.0169 | 0.0178 | 2.97 | 0.41 | 8.68 | 0.81 | 71.7 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 190 | 0.04 | 0.04 | 0.038 | 2.94 | 0.45 | 8.68 | 0.81 | 71.7 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 170 | 0.2397 | 0.2482 | 0.2507 | 2.34 | 0.48 | 8.68 | 0.81 | 71.7 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 106 | 0.0389 | 0.0397 | 0.0419 | 3.87 | 0.6 | 8.68 | 0.81 | 71.7 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 103 | 0.024 | 0.0231 | 0.0259 | 5.87 | 0.84 | 8.68 | 0.81 | 71.7 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 149 | 0.029 | 0.032 | 0.028 | 7.02 | 1.04 | 8.68 | 0.81 | 71.7 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 192 | 0.0378 | 0.0334 | 0.0317 | 9.18 | 1.39 | 8.68 | 0.81 | 71.7 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 183 | 0.022 | 0.018 | 0.021 | 10.2 | 1.43 | 8.68 | 0.81 | 71.7 | 0 |
| Δ9-THC (%AR) | 001.03 | AOAC 2018.11, M | 139 | 0.032 | 0.026 | 0.0272 | 11.2 | 1.64 | 8.68 | 0.81 | 71.7 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 149 | 0.038 | 0.046 | 0.038 | 11.4 | 1.76 | 8.68 | 0.81 | 71.7 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 173 | 0.033 | 0.044 | 0.035 | 15.7 | 2.4 | 8.68 | 0.81 | 71.7 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 204 | 0.0239 | 0.0143 | 0.0252 | 28.2 | 3.96 | 8.68 | 0.81 | 71.7 | 0 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 189 | 0.04 | 0.0382 | 0.0048 | 71.7 | 10.48 | 8.68 | 0.81 | 71.7 | 0 |

Lab

Population of Lab RSDr

Δ9-THCA (%AR)

| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 183 | <0.0010 | <0.0010 | <0.0010 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 173 | 0 | 0 | 0 |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 184 | <0.0400 | <0.0400 | <0.0400 |  |  | 1 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 199 | <0.0500 | <0.0500 | <0.0500 |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 170 | <0.0300 | <0.0300 | <0.0300 |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 162 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 149 | <0.0400 | <0.0400 | <0.0400 |  |  | 1 |
| Δ9-THCA (%AR) | 002.03 | AOAC 2018.11, M | 139 | <0.0125 | <0.0125 | <0.0125 |  |  | 1 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 102 | <0.0190 | <0.0200 | <0.0200 |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 106 | <0.0300 | <0.0300 | <0.0300 |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 204 | 0 | 0 | 0 |  |  | 1 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 149 | <0.0040 | <0.0040 | <0.0040 |  |  | 1 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 190 | 0.0001 | 0.0001 | 0.0001 | 0 | 0 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 192 | 0.0158 | 0.0141 | 0.0122 | 12.8 | 1.7 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 189 | 0.0005 | 0.0006 | 0.0021 | 84 | 7.54 | 0 |

CBD (%AR)

| CBD (%AR) | 003.10 | Other LC-UV | 183 | 0.567 | 0.57 | 0.571 | 0.37 | 0.08 | 2.01 | 0.37 | 6.57 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%AR) | 003.10 | Other LC-UV | 173 | 0.529 | 0.534 | 0.532 | 0.47 | 0.11 | 2.01 | 0.37 | 6.57 | 0 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%AR) | 003.10 | Other LC-UV | 189 | 0.4942 | 0.4897 | 0.4941 | 0.52 | 0.12 | 2.01 | 0.37 | 6.57 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 204 | 0.5946 | 0.595 | 0.6003 | 0.53 | 0.12 | 2.01 | 0.37 | 6.57 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 106 | 0.5859 | 0.5916 | 0.5913 | 0.54 | 0.13 | 2.01 | 0.37 | 6.57 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 199 | 0.5865 | 0.575 | 0.5825 | 1 | 0.23 | 2.01 | 0.37 | 6.57 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 190 | 0.594 | 0.594 | 0.583 | 1.08 | 0.25 | 2.01 | 0.37 | 6.57 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 192 | 0.4656 | 0.4655 | 0.4564 | 1.14 | 0.25 | 2.01 | 0.37 | 6.57 | 0 |
| CBD (%AR) | 003.03 | AOAC 2018.11, M | 139 | 0.5173 | 0.5007 | 0.4881 | 2.92 | 0.66 | 2.01 | 0.37 | 6.57 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 162 | 0.566 | 0.5686 | 0.5361 | 3.24 | 0.74 | 2.01 | 0.37 | 6.57 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 149 | 0.598 | 0.613 | 0.575 | 3.21 | 0.75 | 2.01 | 0.37 | 6.57 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 184 | 0.5013 | 0.5316 | 0.5327 | 3.41 | 0.78 | 2.01 | 0.37 | 6.57 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 170 | 0.4863 | 0.5335 | 0.4927 | 5.08 | 1.15 | 2.01 | 0.37 | 6.57 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 149 | 0.609 | 0.649 | 0.569 | 6.57 | 1.53 | 2.01 | 0.37 | 6.57 | 0 |

Lab

Population of Lab RSDr

CBDA (%AR)

| CBDA (%AR) | 004.10 | Other LC-UV | 184 | <0.0400 | <0.0400 | <0.0400 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%AR) | 004.10 | Other LC-UV | 106 | <0.0300 | <0.0300 | <0.0300 | 1 |
| CBDA (%AR) | 004.10 | Other LC-UV | 162 | <0.0100 | <0.0100 | <0.0100 | 1 |
| CBDA (%AR) | 004.03 | AOAC 2018.11, M | 139 | <0.0125 | <0.0125 | <0.0125 | 1 |
| CBDA (%AR) | 004.10 | Other LC-UV | 149 | <0.0400 | <0.0400 | <0.0400 | 1 |
| CBDA (%AR) | 004.10 | Other LC-UV | 173 | 0 | 0 | 0 | 1 |
| CBDA (%AR) | 004.10 | Other LC-UV | 192 | 0 | 0 | 0 | 1 |
| CBDA (%AR) | 004.10 | Other LC-UV | 204 | 0 | 0.0138 | 0.0307 | 1 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) Rob Mean min max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 199 | <0.0500 | <0.0500 | <0.0500 |  |  | 1 |
| CBDA (%AR) | 004.30 | Other LC-MS | 149 | 0.004 | 0.004 | 0.004 | 0 | 0 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 190 | 0.004 | 0.004 | 0.004 | 0 | 0 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 183 | 0.003 | 0.003 | 0.003 | 0 | 0 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 189 | 0.0038 | 0.0037 | 0.0259 | 115 | 14.66 | 0 |

Lab

Population of Lab RSDr

CBN (%AR)

| CBN (%AR) | 005.10 | Other LC-UV | 162 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBN (%AR) | 005.10 | Other LC-UV | 173 | 0 | 0 | 0 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 149 | <0.0400 | <0.0400 | <0.0400 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 204 | 0 | 0.0054 | 0.005 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 199 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 106 | <0.0300 | <0.0300 | <0.0300 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.30 | GC-FID | 138 | <0.0200 | <0.0200 | <0.0200 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.20 | Other LC-MS | 190 | 0.005 | 0.005 | 0.005 | 0 | 0 | 12.86 | 0 | 21.2 | 0 |
| CBN (%AR) | 005.20 | Other LC-MS | 149 | 0.005 | 0.006 | 0.006 | 10.2 | 1.18 | 12.86 | 0 | 21.2 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 189 | 0.0047 | 0.0044 | 0.0038 | 10.7 | 1.18 | 12.86 | 0 | 21.2 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 183 | 0.003 | 0.004 | 0.003 | 17.3 | 1.84 | 12.86 | 0 | 21.2 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 192 | 0.0038 | 0.0025 | 0.003 | 21.2 | 2.23 | 12.86 | 0 | 21.2 | 0 |
| CBN (%AR) | 005.03 | AOAC 2018.11, M | 139 | 0.0169 | 0.0164 | 0.012 | 17.9 | 2.39 | 12.86 | 0 | 21.2 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Total Δ9-THC (%AR) |  |  |  |  |  |  |  |  |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 199 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 162 | 0.0178 | 0.0169 | 0.0178 | 2.97 | 0.41 | 13.02 | 2.97 | 128 | 0 |
| Total Δ9-THC (%AR) | 006.03 | AOAC 2018.11, M | 139 | 0.0314 | 0.0301 | 0.0288 | 4.32 | 0.64 | 13.02 | 2.97 | 128 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 103 | 0.024 | 0.0231 | 0.0259 | 5.87 | 0.84 | 13.02 | 2.97 | 128 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 169 | 0.0247 | 0.0262 | 0.0284 | 7.04 | 1.02 | 13.02 | 2.97 | 128 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 149 | 0.029 | 0.032 | 0.028 | 7.02 | 1.04 | 13.02 | 2.97 | 128 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 138 | 0.0286 | 0.0317 | 0.0275 | 7.44 | 1.1 | 13.02 | 2.97 | 128 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 183 | 0.022 | 0.018 | 0.021 | 10.2 | 1.43 | 13.02 | 2.97 | 128 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 192 | 0.0517 | 0.0458 | 0.0424 | 10.1 | 1.6 | 13.02 | 2.97 | 128 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 149 | 0.038 | 0.046 | 0.038 | 11.4 | 1.76 | 13.02 | 2.97 | 128 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 173 | 0.033 | 0.044 | 0.035 | 15.7 | 2.4 | 13.02 | 2.97 | 128 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 204 | 0.0239 | 0.0143 | 0.0252 | 28.2 | 3.96 | 13.02 | 2.97 | 128 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 189 | 0.0404 | 0.0387 | 0.0012 | 82.8 | 12.05 | 13.02 | 2.97 | 128 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 102 | 0.19 | 0.02 | 0.02 | 128 | 21.82 | 13.02 | 2.97 | 128 | 0 |
|  |  |  |  | Total CBD (%AR) |  |  |  |  |  |  |  |  |
| Total CBD (%AR) | 007.10 | Other LC-UV | 183 | 0.57 | 0.573 | 0.574 | 0.36 | 0.08 | 2.54 | 0.36 | 85.5 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 173 | 0.529 | 0.534 | 0.532 | 0.47 | 0.11 | 2.54 | 0.36 | 85.5 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 199 | 0.5865 | 0.575 | 0.5825 | 1 | 0.23 | 2.54 | 0.36 | 85.5 | 0 |
| Total CBD (%AR) | 007.50 | GC-MS | 170 | 0.5608 | 0.5722 | 0.571 | 1.1 | 0.25 | 2.54 | 0.36 | 85.5 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 192 | 0.4656 | 0.4655 | 0.4564 | 1.14 | 0.25 | 2.54 | 0.36 | 85.5 | 0 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total CBD (%AR) | 007.10 | Other LC-UV | 204 | 0.5946 | 0.6071 | 0.6272 | 2.7 | 0.63 | 2.54 | 0.36 | 85.5 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 169 | 0.598 | 0.633 | 0.617 | 2.84 | 0.66 | 2.54 | 0.36 | 85.5 | 0 |
| Total CBD (%AR) | 007.03 | AOAC 2018.11, M | 139 | 0.5173 | 0.5007 | 0.4881 | 2.92 | 0.66 | 2.54 | 0.36 | 85.5 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 162 | 0.566 | 0.5686 | 0.5361 | 3.24 | 0.74 | 2.54 | 0.36 | 85.5 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 138 | 0.583 | 0.5733 | 0.6096 | 3.19 | 0.74 | 2.54 | 0.36 | 85.5 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 149 | 0.602 | 0.617 | 0.578 | 3.28 | 0.76 | 2.54 | 0.36 | 85.5 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 149 | 0.609 | 0.649 | 0.569 | 6.57 | 1.53 | 2.54 | 0.36 | 85.5 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 189 | 0.4976 | 0.493 | 0.0044 | 85.5 | 18.15 | 2.54 | 0.36 | 85.5 | 0 |

Lab

Population of Lab RSDr

CBDV (%AR)

| CBDV (%AR) | 008.99 | Other | 106 | <0.0300 | <0.0300 | <0.0300 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDV (%AR) | 008.99 | Other | 162 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| CBDV (%AR) | 008.99 | Other | 173 | 0 | 0 | 0 |  |  | 1 |
| CBDV (%AR) | 008.02 | AOAC 2018.11, U | 183 | 0.008 | 0.008 | 0.008 | 0 | 0 | 0 |
| CBDV (%AR) | 008.99 | Other | 149 | 0.009 | 0.01 | 0.009 | 6.19 | 0.77 | 0 |
| CBDV (%AR) | 008.99 | Other | 189 | 0.0048 | 0.0048 | 0.0385 | 121 | 16.36 | 0 |

| CBDVA (%AR) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CBDVA (%AR) | 009.01 | AOAC 2018.10 | 149 | <0.0400 | <0.0400 | <0.0400 | 1 |
| CBDVA (%AR) | 009.99 | Other | 173 | 0 | 0 | 0 | 1 |
| CBDVA (%AR) | 009.02 | AOAC 2018.11, U | 183 | <0.0010 | <0.0010 | <0.0010 | 1 |
| CBDVA (%AR) | 009.99 | Other | 149 | <0.0040 | <0.0040 | <0.0040 | 1 |

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr Rob Mean	min	max

Flag

| CBG (%AR) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%AR) | 010.01 | AOAC 2018.10 | 149 | <0.0400 | <0.0400 | <0.0400 |  |  | 1 |
| CBG (%AR) | 010.99 | Other | 173 | 0 | 0 | 0 |  |  | 1 |
| CBG (%AR) | 010.99 | Other | 106 | <0.0300 | <0.0300 | <0.0300 |  |  | 1 |
| CBG (%AR) | 010.02 | AOAC 2018.11, U | 183 | 0.017 | 0.016 | 0.016 | 3.53 | 0.48 | 0 |
| CBG (%AR) | 010.99 | Other | 162 | 0.0122 | 0.0132 | 0.0123 | 4.38 | 0.57 | 0 |
| CBG (%AR) | 010.99 | Other | 149 | 0.016 | 0.018 | 0.017 | 5.88 | 0.8 | 0 |
| CBG (%AR) | 010.99 | Other | 204 | 0.0169 | 0.0152 | 0.0152 | 6.23 | 0.84 | 0 |
| CBG (%AR) | 010.99 | Other | 189 | 0.0262 | 0.0259 | 0.2548 | 129 | 22.98 | 0 |

CBGA (%AR)

| CBGA (%AR) | 011.02 | AOAC 2018.11, U | 183 | <0.0010 | <0.0010 | <0.0010 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBGA (%AR) | 011.99 | Other | 149 | <0.0040 | <0.0040 | <0.0040 |  |  | 1 |
| CBGA (%AR) | 011.99 | Other | 106 | <0.0300 | <0.0300 | <0.0300 |  |  | 1 |
| CBGA (%AR) | 011.99 | Other | 173 | 0 | 0 | 0 |  |  | 1 |
| CBGA (%AR) | 011.99 | Other | 162 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| CBGA (%AR) | 011.01 | AOAC 2018.10 | 149 | <0.0400 | <0.0400 | <0.0400 |  |  | 1 |
| CBGA (%AR) | 011.99 | Other | 189 | 0.0014 | 0.0012 | 0.0119 | 127 | 14.26 | 0 |

THCV (%AR)

THCV (%AR)

012.99

Other

106

<0.0300	<0.0300	<0.0300	1

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) Rob Mean min max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| THCV (%AR) | 012.02 | AOAC 2018.11, U | 183 | <0.0010 | <0.0010 | <0.0010 |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 173 | 0 | 0 | 0 |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 149 | <0.0040 | <0.0040 | <0.0040 |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 189 | 0.0022 | 0.0021 | 0.0025 | 9.18 | 0.92 | 0 |

Lab

Population of Lab RSDr

Δ8-THC (%AR)

| Δ8-THC (%AR) | 013.02 | AOAC 2018.11, U | 183 | 0.294 | 0.296 | 0.297 | 0.52 | 0.11 | 4.59 | 0.52 | 67.4 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ8-THC (%AR) | 013.99 | Other | 106 | 0.2876 | 0.2929 | 0.2929 | 1.05 | 0.22 | 4.59 | 0.52 | 67.4 | 0 |
| Δ8-THC (%AR) | 013.02 | AOAC 2018.11, U | 199 | 0.303 | 0.2965 | 0.295 | 1.43 | 0.3 | 4.59 | 0.52 | 67.4 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 173 | 0.276 | 0.286 | 0.284 | 1.88 | 0.39 | 4.59 | 0.52 | 67.4 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 162 | 0.2967 | 0.2781 | 0.2851 | 3.28 | 0.68 | 4.59 | 0.52 | 67.4 | 0 |
| Δ8-THC (%AR) | 013.03 | AOAC 2018.11, M | 139 | 0.2816 | 0.2754 | 0.2608 | 3.92 | 0.81 | 4.59 | 0.52 | 67.4 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 138 | 0.288 | 0.2749 | 0.3043 | 5.1 | 1.06 | 4.59 | 0.52 | 67.4 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 204 | 0.2853 | 0.2658 | 0.2996 | 5.98 | 1.24 | 4.59 | 0.52 | 67.4 | 0 |
| Δ8-THC (%AR) | 013.01 | AOAC 2018.10 | 149 | 0.31 | 0.33 | 0.29 | 6.45 | 1.36 | 4.59 | 0.52 | 67.4 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 149 | 0.257 | 0.316 | 0.296 | 10.4 | 2.16 | 4.59 | 0.52 | 67.4 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 189 | 0.2582 | 0.252 | 0.0407 | 67.4 | 13.1 | 4.59 | 0.52 | 67.4 | 0 |

| CBC (%AR) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%AR) | 014.99 | Other | 173 | 0 | 0 | 0 | 1 |
| CBC (%AR) | 014.01 | AOAC 2018.10 | 149 | <0.0400 | <0.0400 | <0.0400 | 1 |
| CBC (%AR) | 014.99 | Other | 106 | <0.0300 | <0.0300 | <0.0300 | 1 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) Rob Mean min max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%AR) | 014.02 | AOAC 2018.11, U | 183 | 0.013 | 0.013 | 0.013 | 0 | 0 | 0 |
| CBC (%AR) | 014.99 | Other | 162 | 0.0107 | 0.0117 | 0.0118 | 5.34 | 0.68 | 0 |
| CBC (%AR) | 014.99 | Other | 204 | 0.0105 | 0.0116 | 0.0115 | 5.43 | 0.69 | 0 |
| CBC (%AR) | 014.99 | Other | 149 | 0.013 | 0.018 | 0.015 | 16.4 | 2.2 | 0 |
| CBC (%AR) | 014.99 | Other | 189 | 0.0114 | 0.0115 | 0.4974 | 162 | 31.17 | 0 |

Lab

Population of Lab RSDr

Cd (ug/g AR)

| Cd (ug/g AR) | 101.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cd (ug/g AR) | 101.04 | ICP-MS | 106 | <0.0830 | <0.0830 | <0.0830 |  |  | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 183 | 0 | 0 | 0 |  |  | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 102 | 0.1797 | 0.188 | 0.1999 | 5.37 | 1.05 | 0 |

As (ug/g AR)

| As (ug/g AR) | 102.04 | ICP-MS | 106 | <0.0830 | <0.0830 | <0.0830 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| As (ug/g AR) | 102.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 183 | 0 | 0 | 0 |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 102 | 0.0606 | 0.0578 | 0.0825 | 20.2 | 3.37 | 0 |

Hg (ug/g AR)

| Hg (ug/g AR) | 103.99 | Other | 102 | <0.0001 | <0.0001 | <0.0001 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Hg (ug/g AR) | 103.04 | ICP-MS | 106 | <0.0080 | <0.0080 | <0.0080 | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 | 1 |

Analyte

Hg (ug/g AR)

Code

103.04

Method

ICP-MS

Lab Num

183

Result1	Result2	Result3

0	0	0

Lab

RSDr	HorRat(r)

Population of Lab RSDr Rob Mean	min	max

Flag

1

Pb (ug/g AR)

| Pb (ug/g AR) | 104.04 | ICP-MS | 106 | <0.0830 | <0.0830 | <0.0830 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Pb (ug/g AR) | 104.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 |  |  | 1 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 183 | 0 | 0 | 0 |  |  | 1 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 102 | 0.2872 | 0.2886 | 0.3424 | 10.3 | 2.16 | 0 |

(-)-alpha-Bisabolol (%AR)

| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 183 | <0.0100 <0.0100 | <0.0100 | 1 |
| --- | --- | --- | --- | --- | --- | --- |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 162 | <0.0100 <0.0100 | <0.0100 | 1 |

beta-Caryophyllene (%AR)

| beta-Caryophyllene (% | 202.02 | GC,MS | 162 | <0.0100 <0.0100 | <0.0100 | 1 |
| --- | --- | --- | --- | --- | --- | --- |
| beta-Caryophyllene (% | 202.02 | GC,MS | 183 | <0.0100 <0.0100 | <0.0100 | 1 |

(-)-Caryophyllene oxide (%AR)

(-)-Caryophyllene oxide

203.02

GC,MS

183

<0.0020	<0.0020	<0.0020	1

Geraniol (%AR)

| Geraniol (%AR) | 204.02 | GC,MS | 162 | <0.0100 <0.0100 | <0.0100 | 1 |
| --- | --- | --- | --- | --- | --- | --- |
| Geraniol (%AR) | 204.02 | GC,MS | 183 | <0.0020 <0.0020 | <0.0020 | 1 |

|  |  |  | Lab |  |  |  | Lab |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) |  | Rob Mean | min | max | Flag |
|  |  |  |  | alpha-Humulene (%AR) |  |  |  |  |  |  |  |  |  |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 183 | <0.0100 <0.0100 |  | <0.0100 |  | 1 |  |  |  |  |  |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 162 | <0.0100 <0.0100 |  | <0.0100 |  | 1 |  |  |  |  |  |
|  |  |  |  | d-Limonene (%AR) |  |  |  |  |  |  |  |  |  |
| d-Limonene (%AR) | 206.02 | GC,MS | 183 | <0.0020 <0.0020 |  | <0.0020 |  | 1 |  |  |  |  |  |
| d-Limonene (%AR) | 206.02 | GC,MS | 162 | <0.0100 <0.0100 |  | <0.0100 |  | 1 |  |  |  |  |  |
|  |  |  |  | Linalool (%AR) |  |  |  |  |  |  |  |  |  |
| Linalool (%AR) | 207.02 | GC,MS | 162 | <0.0100 <0.0100 |  | <0.0100 |  | 1 |  |  |  |  |  |
| Linalool (%AR) | 207.02 | GC,MS | 183 | <0.0020 <0.0020 |  | <0.0020 |  | 1 |  |  |  |  |  |
|  |  |  |  | beta-Myrcene (%AR) |  |  |  |  |  |  |  |  |  |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 162 | <0.0100 <0.0100 |  | <0.0100 |  | 1 |  |  |  |  |  |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 183 | <0.0020 <0.0020 |  | <0.0020 |  | 1 |  |  |  |  |  |
|  |  |  |  | Ocimene (%AR) |  |  |  |  |  |  |  |  |  |
| Ocimene (%AR) | 210.02 | GC,MS | 162 | <0.0100 <0.0100 |  | <0.0100 |  | 1 |  |  |  |  |  |
| Ocimene (%AR) | 210.02 | GC,MS | 183 | <0.0020 <0.0020 |  | <0.0020 |  | 1 |  |  |  |  |  |

Population of Lab RSDr

|  |  |  | Lab |  |  |  | Lab |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) |  | Rob Mean | min | max | Flag |
|  |  |  |  | alpha-Pinene (%AR) |  |  |  |  |  |  |  |  |  |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 183 | <0.0020 <0.0020 |  | <0.0020 |  | 1 |  |  |  |  |  |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 162 | <0.0100 <0.0100 |  | <0.0100 |  | 1 |  |  |  |  |  |
|  |  |  |  | (-)-beta-Pinene (%AR) |  |  |  |  |  |  |  |  |  |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 183 | <0.0020 <0.0020 |  | <0.0020 |  | 1 |  |  |  |  |  |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 162 | <0.0100 <0.0100 |  | <0.0100 |  | 1 |  |  |  |  |  |
|  |  |  |  | alpha-Terpinene (%AR) |  |  |  |  |  |  |  |  |  |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 183 | <0.0020 <0.0020 |  | <0.0020 |  | 1 |  |  |  |  |  |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 162 | <0.0100 <0.0100 |  | <0.0100 |  | 1 |  |  |  |  |  |
|  |  |  |  | gamma-Terpinene (%AR) |  |  |  |  |  |  |  |  |  |
| gamma-Terpinene (%A | 214.02 | GC,MS | 183 | <0.0020 <0.0020 |  | <0.0020 |  | 1 |  |  |  |  |  |
| gamma-Terpinene (%A | 214.02 | GC,MS | 162 | <0.0100 <0.0100 |  | <0.0100 |  | 1 |  |  |  |  |  |
|  |  |  |  | alpha-Terpinolene (%AR) |  |  |  |  |  |  |  |  |  |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 183 | <0.0020 <0.0020 |  | <0.0020 |  | 1 |  |  |  |  |  |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 162 | <0.0100 <0.0100 |  | <0.0100 |  | 1 |  |  |  |  |  |

Population of Lab RSDr

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr Rob Mean	min	max

Flag

Δ9-THC (%DW)

Δ9-THC (%DW)

501.01

AOAC 2018.10

210

<0.0230	<0.0230	<0.0230	1

Δ9-THCA (%DW)

Δ9-THCA (%DW)

502.01

AOAC 2018.10

210

<0.0240	<0.0240	<0.0230	1

CBD (%DW)

CBD (%DW)

503.01

AOAC 2018.10

210

0.578	0.539	0.556	3.51	0.8	0

CBDA (%DW)

CBDA (%DW)

504.01

AOAC 2018.10

210

<0.0240	<0.0240	<0.0230	1

Total Δ9-THC (%DW)

Total Δ9-THC (%DW)

506.01

AOAC 2018.10

210

<0.0440	<0.0440	<0.0430	1

Total CBD (%DW)

Total CBD (%DW)

507.01

AOAC 2018.10

210

0.578	0.539	0.556	3.51	0.8	0

CBDV (%DW)

CBDV (%DW)

508.02

AOAC 2018.11, U

210

<0.0230	<0.0230	<0.0220	1

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr Rob Mean	min	max

Flag

CBDVA (%DW)

CBDVA (%DW)

509.01

AOAC 2018.10

210

<0.0240	<0.0240	<0.0230	1

CBG (%DW)

CBG (%DW)

510.01

AOAC 2018.10

210

<0.0230	<0.0230	<0.0220	1

CBGA (%DW)

CBGA (%DW)

511.01

AOAC 2018.10

210

<0.0240	<0.0240	<0.0230	1

THCV (%DW)

THCV (%DW)

512.02

AOAC 2018.11, U

210

<0.0230	<0.0230	<0.0220	1

Δ8-THC (%DW)

Δ8-THC (%DW)

513.01

AOAC 2018.10

210

0.28	0.289	0.285	1.58	0.33	0

- Flag definitions: 1 (Lab RSDr not calculated because there were less than 3 numeric lab results)

- Statistical parameters of robust mean, minimum, and maximum for RSDr only shown only if there were 6 or more lab RSDr values.

- AR refers to concentration on as-received basis. DW refers to concentration on dry weight basis.c