Hemp Proficiency Testing

Summary Statistics

OL25SEP-1 (Oil)

Sample: OL25SEP-1 (Oil)

Summary Statistics

Issue Date: December 3, 2025

By Analyte

Trueness (Lab Value)

Horwitz

Precision (Lab RSDr)

| Analyte | Code | Rob Mean | n | Rob StDev | %RSD | %RSD | Rob Mean | min | max |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001 | 0.0314 | 14 | 0.0099 | 31.5 | 6.71 | 8.68 | 0.81 | 71.7 |
| CBD (%AR) | 003 | 0.551 | 14 | 0.0516 | 9.37 | 4.36 | 2.01 | 0.37 | 6.57 |
| CBN (%AR) | 005 | 0.0048 | 7 | 0.0016 | 33.7 | 8.88 | 12.86 | 0 | 21.2 |
| Total Δ9-THC (%AR) | 006 | 0.0305 | 13 | 0.0109 | 35.7 | 6.73 | 13.02 | 2.97 | 128 |
| Total CBD (%AR) | 007 | 0.5607 | 13 | 0.0556 | 9.92 | 4.35 | 2.54 | 0.36 | 85.5 |
| Δ8-THC (%AR) | 013 | 0.2876 | 11 | 0.012 | 4.16 | 4.81 | 4.59 | 0.52 | 67.4 |

By Method Group

Trueness (Lab Value)

Horwitz

Precision (Lab RSDr)

| Analyte Code | Rob Mean | n | Rob StDev | %RSD | %RSD | Rob Mean | min | max |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBN (%AR) LC | 0.0048 | 7 | 0.0016 | 33.7 | 8.88 | 12.86 | 0 | 21.2 |
| Total Δ9-THC (%AR) LC | 0.0313 | 11 | 0.0124 | 39.5 | 6.71 | 15.4 | 2.97 | 128 |

Sample: OL25SEP-1 (Oil)

Summary Statistics

Issue Date: December 3, 2025

| Total CBD (%AR) | LC | 0.547 | 10 | 0.0677 | 12.4 | 4.37 | 2.85 | 0.36 | 85.5 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

By Method

| Trueness (Lab Value) |  |  |  |  |  |  | Horwitz | Precision (Lab RSDr) |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Analyte | Code |  | Rob Mean | n | Rob StDev | %RSD | %RSD | Rob Mean | min | max |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 0.0321 | 10 | 0.0118 | 36.8 | 6.68 | 11.32 | 0.81 | 71.7 |
| CBD (%AR) | 003.10 | Other LC-UV | 0.5434 | 10 | 0.0553 | 10.2 | 4.37 | 2.09 | 0.37 | 6.57 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 0.0301 | 7 | 0.013 | 43.1 | 6.75 | 16.39 | 2.97 | 82.8 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 0.5354 | 7 | 0.0865 | 16.2 | 4.38 | 3.33 | 0.36 | 85.5 |
| Δ8-THC (%AR) | 013.99 | Other | 0.2856 | 7 | 0.0057 | 1.98 | 4.82 | 5.93 | 1.05 | 67.4 |

- Data summarized for trueness and precision if 6 or more Lab values and 6 or more Lab RSDr values were available.

- AR refers to concentration on as-received basis. DW refers to concentration on dry weight basis.