## Entry
ReadMe |  | State Abbrev | LabNum | Conc Basis |  | Answer |  |  | Question
* Enter data in blue cells | [8 empty] | Q01. What extraction solvent do you use?
* Review General Instructions at: http://www.rs.uky.edu/regulatory/hpt/reports.php | [8 empty] | Q02. What extraction method do you use (eg., sonication, shaking, other)?
Q03. What is your approximate mass of sample for extraction in grams (g)?
* Save file with LabNum, eg. 101_2019NOVHempPTdata email to mm.smith@uky.edu | [8 empty] | Q04. What is your volume of extractant in milliliters (mL)?
Q05. Do you perform predecarboxylation step of the extract prior to instrumental analysis?
Q06. Does your lab have ISO 17025 accreditation?
* Formula to determine concentration on dry weight basis %DW = %AR x (100/(100-%moisture)) | [8 empty] | Q07. If yes to Q06, is total THC in hemp within your scope of accreditation?
Q08. Do you determine measurment uncertainty for total THC considering both precision and trueness (see sheet entitled uncertainty)?
Q09. If yes to Q08, what is your expanded measurement uncertainty, U, for % total THC in hemp?
Q10. Is your lab aware of the recent interim final rule for hemp production released by the USDA?
| SampleNum |  |  |  | Analyte | result1 | result2 | result3 | Unit | Method | Description | Method Code
| HM19NOV-1 |  |  | As-Received | ∆9-THC |  |  |  | %AR | AOAC 2018.10 | LC, UV detection | 001.01
| HM19NOV-1 |  |  | As-Received | ∆9-THC |  |  |  | %AR | AOAC 2018.11, diode array | LC, UV diode array detection | 001.02
| HM19NOV-1 |  |  | As-Received | ∆9-THC |  |  |  | %AR | AOAC 2018.11, mass spec | LC, mass spec detection | 001.03
| HM19NOV-1 |  |  | As-Received | ∆9-THC |  |  |  | %AR | LC-UV, other | other LC, UV detection | 001.10
| HM19NOV-1 |  |  | As-Received | ∆9-THC |  |  |  | %AR | LC-MS, other | other LC, mass spec detection | 001.30
| HM19NOV-1 |  |  | As-Received | ∆9-THC |  |  |  | %AR | Other |  | 001.99
| HM19NOV-1 |  |  | As-Received | ∆9-THCA |  |  |  | %AR | AOAC 2018.10 | LC, UV detection | 002.01
| HM19NOV-1 |  |  | As-Received | ∆9-THCA |  |  |  | %AR | AOAC 2018.11, diode array | LC, UV diode array detection | 002.02
| HM19NOV-1 |  |  | As-Received | ∆9-THCA |  |  |  | %AR | AOAC 2018.11, mass spec | LC, mass spec detection | 002.03
| HM19NOV-1 |  |  | As-Received | ∆9-THCA |  |  |  | %AR | LC-UV, other | other LC, UV detection | 002.10
| HM19NOV-1 |  |  | As-Received | ∆9-THCA |  |  |  | %AR | LC-MS, other | other LC, mass spec detection | 002.30
| HM19NOV-1 |  |  | As-Received | ∆9-THCA |  |  |  | %AR | Other |  | 002.99
| HM19NOV-1 |  |  | As-Received | CBD |  |  |  | %AR | AOAC 2018.10 | LC, UV detection | 003.01
| HM19NOV-1 |  |  | As-Received | CBD |  |  |  | %AR | AOAC 2018.11, diode array | LC, UV diode array detection | 003.02
| HM19NOV-1 |  |  | As-Received | CBD |  |  |  | %AR | AOAC 2018.11, mass spec | LC, mass spec detection | 003.03
| HM19NOV-1 |  |  | As-Received | CBD |  |  |  | %AR | LC-UV, other | other LC, UV detection | 003.10
| HM19NOV-1 |  |  | As-Received | CBD |  |  |  | %AR | LC-MS, other | other LC, mass spec detection | 003.30
| HM19NOV-1 |  |  | As-Received | CBD |  |  |  | %AR | Other |  | 003.99
| HM19NOV-1 |  |  | As-Received | CBDA |  |  |  | %AR | AOAC 2018.10 | LC, UV detection | 004.01
| HM19NOV-1 |  |  | As-Received | CBDA |  |  |  | %AR | AOAC 2018.11, diode array | LC, UV diode array detection | 004.02
| HM19NOV-1 |  |  | As-Received | CBDA |  |  |  | %AR | AOAC 2018.11, mass spec | LC, mass spec detection | 004.03
| HM19NOV-1 |  |  | As-Received | CBDA |  |  |  | %AR | LC-UV, other | other LC, UV detection | 004.10
| HM19NOV-1 |  |  | As-Received | CBDA |  |  |  | %AR | LC-MS, other | other LC, mass spec detection | 004.30
| HM19NOV-1 |  |  | As-Received | CBDA |  |  |  | %AR | Other |  | 004.99
| HM19NOV-1 |  |  | As-Received | CBN |  |  |  | %AR | AOAC 2018.10 | LC, UV detection | 005.01
| HM19NOV-1 |  |  | As-Received | CBN |  |  |  | %AR | AOAC 2018.11, diode array | LC, UV diode array detection | 005.02
| HM19NOV-1 |  |  | As-Received | CBN |  |  |  | %AR | AOAC 2018.11, mass spec | LC, mass spec detection | 005.03
| HM19NOV-1 |  |  | As-Received | CBN |  |  |  | %AR | LC-UV, other | other LC, UV detection | 005.10
| HM19NOV-1 |  |  | As-Received | CBN |  |  |  | %AR | LC-MS, other | other LC, mass spec detection | 005.20
| HM19NOV-1 |  |  | As-Received | CBN |  |  |  | %AR | GC-FID | GC, flame ionization detection | 005.30
| HM19NOV-1 |  |  | As-Received | CBN |  |  |  | %AR | GC-MS | GC, mass spec detection | 005.40
| HM19NOV-1 |  |  | As-Received | CBN |  |  |  | %AR | Other |  | 005.99
For LC, total refers to | HM19NOV-1 |  |  | As-Received | Total ∆9-THC |  |  |  | %AR | AOAC 2018.10 | LC, UV detection, %∆9-THC+(%∆9-THCA x 0.877) | 006.01
sum of acid and | HM19NOV-1 |  |  | As-Received | Total ∆9-THC |  |  |  | %AR | AOAC 2018.11, diode array | LC, UV diode array detection, %∆9-THC+(%∆9-THCA x 0.877) | 006.02
neutral forms using | HM19NOV-1 |  |  | As-Received | Total ∆9-THC |  |  |  | %AR | AOAC 2018.11, mass spec | LC, mass spec detection, %∆9-THC+(%∆9-THCA x 0.877) | 006.03
formula in the description. | HM19NOV-1 |  |  | As-Received | Total ∆9-THC |  |  |  | %AR | LC-UV, other | other LC, UV detection, %∆9-THC+(%∆9-THCA x 0.877) | 006.10
| HM19NOV-1 |  |  | As-Received | Total ∆9-THC |  |  |  | %AR | LC-MS, other | other LC, mass spec detection, %∆9-THC+(%∆9-THCA x 0.877) | 006.30
| HM19NOV-1 |  |  | As-Received | Total ∆9-THC |  |  |  | %AR | GC-FID | GC, flame ionization detection | 006.40
| HM19NOV-1 |  |  | As-Received | Total ∆9-THC |  |  |  | %AR | GC-MS | GC, mass spec detection | 006.50
| HM19NOV-1 |  |  | As-Received | Total ∆9-THC |  |  |  | %AR | Other |  | 006.99
For LC, total refers to | HM19NOV-1 |  |  | As-Received | Total CBD |  |  |  | %AR | AOAC 2018.10 | LC, UV detection, %CBD+(%CBDA x 0.877) | 007.01
sum of acid and | HM19NOV-1 |  |  | As-Received | Total CBD |  |  |  | %AR | AOAC 2018.11, diode array | LC, UV diode array detection, %CBD+(%CBDA x 0.877) | 007.02
neutral forms using | HM19NOV-1 |  |  | As-Received | Total CBD |  |  |  | %AR | AOAC 2018.11, mass spec | LC, mass spec detection, %CBD+(%CBDA x 0.877) | 007.03
formula in the description. | HM19NOV-1 |  |  | As-Received | Total CBD |  |  |  | %AR | LC-UV, other | other LC, UV detection, %CBD+(%CBDA x 0.877) | 007.10
| HM19NOV-1 |  |  | As-Received | Total CBD |  |  |  | %AR | LC-MS, other | other LC, mass spec detection, %CBD+(%CBDA x 0.877) | 007.30
| HM19NOV-1 |  |  | As-Received | Total CBD |  |  |  | %AR | GC-FID | GC, flame ionization detection | 007.40
| HM19NOV-1 |  |  | As-Received | Total CBD |  |  |  | %AR | GC-MS | GC, mass spec detection | 007.50
| HM19NOV-1 |  |  | As-Received | Total CBD |  |  |  | %AR | Other |  | 007.99
| HM19NOV-1 |  |  | As-Received | Moisture |  |  |  | %AR | AOAC 2001.12, Method I | Karl-Fisher, Extraction into Methanol-Formamide | 500.20
| HM19NOV-1 |  |  | As-Received | Moisture |  |  |  | %AR | AOAC 2001.12, Method II | Karl-Fisher, Boiling Methanol Extraction | 500.30
| HM19NOV-1 |  |  | As-Received | Moisture |  |  |  | %AR | AOAC 934.01 | Loss on Drying, 95 to 100 C under pressure | 500.40
| HM19NOV-1 |  |  | As-Received | Moisture |  |  |  | %AR | AOAC 930.15 | Loss on Drying, 135 C for 2 hours | 500.50
| HM19NOV-1 |  |  | As-Received | Moisture |  |  |  | %AR | Other |  | 500.99
| HM19NOV-1 |  |  | Dry Weight | ∆9-THC |  |  |  | %DW | AOAC 2018.10 | LC, UV detection | 501.01
| HM19NOV-1 |  |  | Dry Weight | ∆9-THC |  |  |  | %DW | AOAC 2018.11, diode array | LC, UV diode array detection | 501.02
| HM19NOV-1 |  |  | Dry Weight | ∆9-THC |  |  |  | %DW | AOAC 2018.11, mass spec | LC, mass spec detection | 501.03
| HM19NOV-1 |  |  | Dry Weight | ∆9-THC |  |  |  | %DW | LC-UV, other | other LC, UV detection | 501.10
| HM19NOV-1 |  |  | Dry Weight | ∆9-THC |  |  |  | %DW | LC-MS, other | other LC, mass spec detection | 501.30
| HM19NOV-1 |  |  | Dry Weight | ∆9-THC |  |  |  | %DW | Other |  | 501.99
| HM19NOV-1 |  |  | Dry Weight | ∆9-THCA |  |  |  | %DW | AOAC 2018.10 | LC, UV detection | 502.01
| HM19NOV-1 |  |  | Dry Weight | ∆9-THCA |  |  |  | %DW | AOAC 2018.11, diode array | LC, UV diode array detection | 502.02
| HM19NOV-1 |  |  | Dry Weight | ∆9-THCA |  |  |  | %DW | AOAC 2018.11, mass spec | LC, mass spec detection | 502.03
| HM19NOV-1 |  |  | Dry Weight | ∆9-THCA |  |  |  | %DW | LC-UV, other | other LC, UV detection | 502.10
| HM19NOV-1 |  |  | Dry Weight | ∆9-THCA |  |  |  | %DW | LC-MS, other | other LC, mass spec detection | 502.30
| HM19NOV-1 |  |  | Dry Weight | ∆9-THCA |  |  |  | %DW | Other |  | 502.99
| HM19NOV-1 |  |  | Dry Weight | CBD |  |  |  | %DW | AOAC 2018.10 | LC, UV detection | 503.01
| HM19NOV-1 |  |  | Dry Weight | CBD |  |  |  | %DW | AOAC 2018.11, diode array | LC, UV diode array detection | 503.02
| HM19NOV-1 |  |  | Dry Weight | CBD |  |  |  | %DW | AOAC 2018.11, mass spec | LC, mass spec detection | 503.03
| HM19NOV-1 |  |  | Dry Weight | CBD |  |  |  | %DW | LC-UV, other | other LC, UV detection | 503.10
| HM19NOV-1 |  |  | Dry Weight | CBD |  |  |  | %DW | LC-MS, other | other LC, mass spec detection | 503.30
| HM19NOV-1 |  |  | Dry Weight | CBD |  |  |  | %DW | Other |  | 503.99
| HM19NOV-1 |  |  | Dry Weight | CBDA |  |  |  | %DW | AOAC 2018.10 | LC, UV detection | 504.01
| HM19NOV-1 |  |  | Dry Weight | CBDA |  |  |  | %DW | AOAC 2018.11, diode array | LC, UV diode array detection | 504.02
| HM19NOV-1 |  |  | Dry Weight | CBDA |  |  |  | %DW | AOAC 2018.11, mass spec | LC, mass spec detection | 504.03
| HM19NOV-1 |  |  | Dry Weight | CBDA |  |  |  | %DW | LC-UV, other | other LC, UV detection | 504.10
| HM19NOV-1 |  |  | Dry Weight | CBDA |  |  |  | %DW | LC-MS, other | other LC, mass spec detection | 504.30
| HM19NOV-1 |  |  | Dry Weight | CBDA |  |  |  | %DW | Other |  | 504.99
| HM19NOV-1 |  |  | Dry Weight | CBN |  |  |  | %DW | AOAC 2018.10 | LC, UV detection | 505.01
| HM19NOV-1 |  |  | Dry Weight | CBN |  |  |  | %DW | AOAC 2018.11, diode array | LC, UV diode array detection | 505.02
| HM19NOV-1 |  |  | Dry Weight | CBN |  |  |  | %DW | AOAC 2018.11, mass spec | LC, mass spec detection | 505.03
| HM19NOV-1 |  |  | Dry Weight | CBN |  |  |  | %DW | LC-UV, other | other LC, UV detection | 505.10
| HM19NOV-1 |  |  | Dry Weight | CBN |  |  |  | %DW | LC-MS, other | other LC, mass spec detection | 505.20
| HM19NOV-1 |  |  | Dry Weight | CBN |  |  |  | %DW | GC-FID | GC, flame ionization detection | 505.30
| HM19NOV-1 |  |  | Dry Weight | CBN |  |  |  | %DW | GC-MS | GC, mass spec detection | 505.40
| HM19NOV-1 |  |  | Dry Weight | CBN |  |  |  | %DW | Other |  | 505.99
For LC, total refers to | HM19NOV-1 |  |  | Dry Weight | Total ∆9-THC |  |  |  | %DW | AOAC 2018.10 | LC, UV detection, %∆9-THC+(%∆9-THCA x 0.877) | 506.01
sum of acid and | HM19NOV-1 |  |  | Dry Weight | Total ∆9-THC |  |  |  | %DW | AOAC 2018.11, diode array | LC, UV diode array detection, %∆9-THC+(%∆9-THCA x 0.877) | 506.02
neutral forms using | HM19NOV-1 |  |  | Dry Weight | Total ∆9-THC |  |  |  | %DW | AOAC 2018.11, mass spec | LC, mass spec detection, %∆9-THC+(%∆9-THCA x 0.877) | 506.03
formula in the description. | HM19NOV-1 |  |  | Dry Weight | Total ∆9-THC |  |  |  | %DW | LC-UV, other | other LC, UV detection, %∆9-THC+(%∆9-THCA x 0.877) | 506.10
| HM19NOV-1 |  |  | Dry Weight | Total ∆9-THC |  |  |  | %DW | LC-MS, other | other LC, mass spec detection, %∆9-THC+(%∆9-THCA x 0.877) | 506.30
| HM19NOV-1 |  |  | Dry Weight | Total ∆9-THC |  |  |  | %DW | GC-FID | GC, flame ionization detection | 506.40
| HM19NOV-1 |  |  | Dry Weight | Total ∆9-THC |  |  |  | %DW | GC-MS | GC, mass spec detection | 506.50
| HM19NOV-1 |  |  | Dry Weight | Total ∆9-THC |  |  |  | %DW | Other |  | 506.99
For LC, total refers to | HM19NOV-1 |  |  | Dry Weight | Total CBD |  |  |  | %DW | AOAC 2018.10 | LC, UV detection, %CBD+(%CBDA x 0.877) | 507.01
sum of acid and | HM19NOV-1 |  |  | Dry Weight | Total CBD |  |  |  | %DW | AOAC 2018.11, diode array | LC, UV diode array detection, %CBD+(%CBDA x 0.877) | 507.02
neutral forms using | HM19NOV-1 |  |  | Dry Weight | Total CBD |  |  |  | %DW | AOAC 2018.11, mass spec | LC, mass spec detection, %CBD+(%CBDA x 0.877) | 507.03
formula in the description. | HM19NOV-1 |  |  | Dry Weight | Total CBD |  |  |  | %DW | LC-UV, other | other LC, UV detection, %CBD+(%CBDA x 0.877) | 507.10
| HM19NOV-1 |  |  | Dry Weight | Total CBD |  |  |  | %DW | LC-MS, other | other LC, mass spec detection, %CBD+(%CBDA x 0.877) | 507.30
| HM19NOV-1 |  |  | Dry Weight | Total CBD |  |  |  | %DW | GC-FID | GC, flame ionization detection | 507.40
| HM19NOV-1 |  |  | Dry Weight | Total CBD |  |  |  | %DW | GC-MS | GC, mass spec detection | 507.50
| HM19NOV-1 |  |  | Dry Weight | Total CBD |  |  |  | %DW | Other |  | 507.99
| HM19NOV-2 |  |  | As-Received | ∆9-THC |  |  |  | %AR | AOAC 2018.10 | LC, UV detection | 001.01
| HM19NOV-2 |  |  | As-Received | ∆9-THC |  |  |  | %AR | AOAC 2018.11, diode array | LC, UV diode array detection | 001.02
| HM19NOV-2 |  |  | As-Received | ∆9-THC |  |  |  | %AR | AOAC 2018.11, mass spec | LC, mass spec detection | 001.03
| HM19NOV-2 |  |  | As-Received | ∆9-THC |  |  |  | %AR | LC-UV, other | other LC, UV detection | 001.10
| HM19NOV-2 |  |  | As-Received | ∆9-THC |  |  |  | %AR | LC-MS, other | other LC, mass spec detection | 001.30
| HM19NOV-2 |  |  | As-Received | ∆9-THC |  |  |  | %AR | Other |  | 001.99
| HM19NOV-2 |  |  | As-Received | ∆9-THCA |  |  |  | %AR | AOAC 2018.10 | LC, UV detection | 002.01
| HM19NOV-2 |  |  | As-Received | ∆9-THCA |  |  |  | %AR | AOAC 2018.11, diode array | LC, UV diode array detection | 002.02
| HM19NOV-2 |  |  | As-Received | ∆9-THCA |  |  |  | %AR | AOAC 2018.11, mass spec | LC, mass spec detection | 002.03
| HM19NOV-2 |  |  | As-Received | ∆9-THCA |  |  |  | %AR | LC-UV, other | other LC, UV detection | 002.10
| HM19NOV-2 |  |  | As-Received | ∆9-THCA |  |  |  | %AR | LC-MS, other | other LC, mass spec detection | 002.30
| HM19NOV-2 |  |  | As-Received | ∆9-THCA |  |  |  | %AR | Other |  | 002.99
| HM19NOV-2 |  |  | As-Received | CBD |  |  |  | %AR | AOAC 2018.10 | LC, UV detection | 003.01
| HM19NOV-2 |  |  | As-Received | CBD |  |  |  | %AR | AOAC 2018.11, diode array | LC, UV diode array detection | 003.02
| HM19NOV-2 |  |  | As-Received | CBD |  |  |  | %AR | AOAC 2018.11, mass spec | LC, mass spec detection | 003.03
| HM19NOV-2 |  |  | As-Received | CBD |  |  |  | %AR | LC-UV, other | other LC, UV detection | 003.10
| HM19NOV-2 |  |  | As-Received | CBD |  |  |  | %AR | LC-MS, other | other LC, mass spec detection | 003.30
| HM19NOV-2 |  |  | As-Received | CBD |  |  |  | %AR | Other |  | 003.99
| HM19NOV-2 |  |  | As-Received | CBDA |  |  |  | %AR | AOAC 2018.10 | LC, UV detection | 004.01
| HM19NOV-2 |  |  | As-Received | CBDA |  |  |  | %AR | AOAC 2018.11, diode array | LC, UV diode array detection | 004.02
| HM19NOV-2 |  |  | As-Received | CBDA |  |  |  | %AR | AOAC 2018.11, mass spec | LC, mass spec detection | 004.03
| HM19NOV-2 |  |  | As-Received | CBDA |  |  |  | %AR | LC-UV, other | other LC, UV detection | 004.10
| HM19NOV-2 |  |  | As-Received | CBDA |  |  |  | %AR | LC-MS, other | other LC, mass spec detection | 004.30
| HM19NOV-2 |  |  | As-Received | CBDA |  |  |  | %AR | Other |  | 004.99
| HM19NOV-2 |  |  | As-Received | CBN |  |  |  | %AR | AOAC 2018.10 | LC, UV detection | 005.01
| HM19NOV-2 |  |  | As-Received | CBN |  |  |  | %AR | AOAC 2018.11, diode array | LC, UV diode array detection | 005.02
| HM19NOV-2 |  |  | As-Received | CBN |  |  |  | %AR | AOAC 2018.11, mass spec | LC, mass spec detection | 005.03
| HM19NOV-2 |  |  | As-Received | CBN |  |  |  | %AR | LC-UV, other | other LC, UV detection | 005.10
| HM19NOV-2 |  |  | As-Received | CBN |  |  |  | %AR | LC-MS, other | other LC, mass spec detection | 005.20
| HM19NOV-2 |  |  | As-Received | CBN |  |  |  | %AR | GC-FID | GC, flame ionization detection | 005.30
| HM19NOV-2 |  |  | As-Received | CBN |  |  |  | %AR | GC-MS | GC, mass spec detection | 005.40
| HM19NOV-2 |  |  | As-Received | CBN |  |  |  | %AR | Other |  | 005.99
Total refers to | HM19NOV-2 |  |  | As-Received | Total ∆9-THC |  |  |  | %AR | AOAC 2018.10 | LC, UV detection, %∆9-THC+(%∆9-THCA x 0.877) | 006.01
sum of acid and | HM19NOV-2 |  |  | As-Received | Total ∆9-THC |  |  |  | %AR | AOAC 2018.11, diode array | LC, UV diode array detection, %∆9-THC+(%∆9-THCA x 0.877) | 006.02
neutral forms using | HM19NOV-2 |  |  | As-Received | Total ∆9-THC |  |  |  | %AR | AOAC 2018.11, mass spec | LC, mass spec detection, %∆9-THC+(%∆9-THCA x 0.877) | 006.03
formula in the | HM19NOV-2 |  |  | As-Received | Total ∆9-THC |  |  |  | %AR | LC-UV, other | other LC, UV detection, %∆9-THC+(%∆9-THCA x 0.877) | 006.10
description. | HM19NOV-2 |  |  | As-Received | Total ∆9-THC |  |  |  | %AR | LC-MS, other | other LC, mass spec detection, %∆9-THC+(%∆9-THCA x 0.877) | 006.30
| HM19NOV-2 |  |  | As-Received | Total ∆9-THC |  |  |  | %AR | GC-FID | GC, flame ionization detection | 006.40
| HM19NOV-2 |  |  | As-Received | Total ∆9-THC |  |  |  | %AR | GC-MS | GC, mass spec detection | 006.50
| HM19NOV-2 |  |  | As-Received | Total ∆9-THC |  |  |  | %AR | Other |  | 006.99
Total refers to | HM19NOV-2 |  |  | As-Received | Total CBD |  |  |  | %AR | AOAC 2018.10 | LC, UV detection, %CBD+(%CBDA x 0.877) | 007.01
sum of acid and | HM19NOV-2 |  |  | As-Received | Total CBD |  |  |  | %AR | AOAC 2018.11, diode array | LC, UV diode array detection, %CBD+(%CBDA x 0.877) | 007.02
neutral forms using | HM19NOV-2 |  |  | As-Received | Total CBD |  |  |  | %AR | AOAC 2018.11, mass spec | LC, mass spec detection, %CBD+(%CBDA x 0.877) | 007.03
formula in the | HM19NOV-2 |  |  | As-Received | Total CBD |  |  |  | %AR | LC-UV, other | other LC, UV detection, %CBD+(%CBDA x 0.877) | 007.10
description. | HM19NOV-2 |  |  | As-Received | Total CBD |  |  |  | %AR | LC-MS, other | other LC, mass spec detection, %CBD+(%CBDA x 0.877) | 007.30
| HM19NOV-2 |  |  | As-Received | Total CBD |  |  |  | %AR | GC-FID | GC, flame ionization detection | 007.40
| HM19NOV-2 |  |  | As-Received | Total CBD |  |  |  | %AR | GC-MS | GC, mass spec detection | 007.50
| HM19NOV-2 |  |  | As-Received | Total CBD |  |  |  | %AR | Other |  | 007.99
| HM19NOV-2 |  |  | As-Received | Moisture |  |  |  | %AR | AOAC 2001.12, Method I | Karl-Fisher, Extraction into Methanol-Formamide | 500.20
| HM19NOV-2 |  |  | As-Received | Moisture |  |  |  | %AR | AOAC 2001.12, Method II | Karl-Fisher, Boiling Methanol Extraction | 500.30
| HM19NOV-2 |  |  | As-Received | Moisture |  |  |  | %AR | AOAC 934.01 | Loss on Drying, 95 to 100 C under pressure | 500.40
| HM19NOV-2 |  |  | As-Received | Moisture |  |  |  | %AR | AOAC 930.15 | Loss on Drying, 135 C for 2 hours | 500.50
| HM19NOV-2 |  |  | As-Received | Moisture |  |  |  | %AR | Other |  | 500.99
| HM19NOV-2 |  |  | Dry Weight | ∆9-THC |  |  |  | %DW | AOAC 2018.10 | LC, UV detection | 501.01
| HM19NOV-2 |  |  | Dry Weight | ∆9-THC |  |  |  | %DW | AOAC 2018.11, diode array | LC, UV diode array detection | 501.02
| HM19NOV-2 |  |  | Dry Weight | ∆9-THC |  |  |  | %DW | AOAC 2018.11, mass spec | LC, mass spec detection | 501.03
| HM19NOV-2 |  |  | Dry Weight | ∆9-THC |  |  |  | %DW | LC-UV, other | other LC, UV detection | 501.10
| HM19NOV-2 |  |  | Dry Weight | ∆9-THC |  |  |  | %DW | LC-MS, other | other LC, mass spec detection | 501.30
| HM19NOV-2 |  |  | Dry Weight | ∆9-THC |  |  |  | %DW | Other |  | 501.99
| HM19NOV-2 |  |  | Dry Weight | ∆9-THCA |  |  |  | %DW | AOAC 2018.10 | LC, UV detection | 502.01
| HM19NOV-2 |  |  | Dry Weight | ∆9-THCA |  |  |  | %DW | AOAC 2018.11, diode array | LC, UV diode array detection | 502.02
| HM19NOV-2 |  |  | Dry Weight | ∆9-THCA |  |  |  | %DW | AOAC 2018.11, mass spec | LC, mass spec detection | 502.03
| HM19NOV-2 |  |  | Dry Weight | ∆9-THCA |  |  |  | %DW | LC-UV, other | other LC, UV detection | 502.10
| HM19NOV-2 |  |  | Dry Weight | ∆9-THCA |  |  |  | %DW | LC-MS, other | other LC, mass spec detection | 502.30
| HM19NOV-2 |  |  | Dry Weight | ∆9-THCA |  |  |  | %DW | Other |  | 502.99
| HM19NOV-2 |  |  | Dry Weight | CBD |  |  |  | %DW | AOAC 2018.10 | LC, UV detection | 503.01
| HM19NOV-2 |  |  | Dry Weight | CBD |  |  |  | %DW | AOAC 2018.11, diode array | LC, UV diode array detection | 503.02
| HM19NOV-2 |  |  | Dry Weight | CBD |  |  |  | %DW | AOAC 2018.11, mass spec | LC, mass spec detection | 503.03
| HM19NOV-2 |  |  | Dry Weight | CBD |  |  |  | %DW | LC-UV, other | other LC, UV detection | 503.10
| HM19NOV-2 |  |  | Dry Weight | CBD |  |  |  | %DW | LC-MS, other | other LC, mass spec detection | 503.30
| HM19NOV-2 |  |  | Dry Weight | CBD |  |  |  | %DW | Other |  | 503.99
| HM19NOV-2 |  |  | Dry Weight | CBDA |  |  |  | %DW | AOAC 2018.10 | LC, UV detection | 504.01
| HM19NOV-2 |  |  | Dry Weight | CBDA |  |  |  | %DW | AOAC 2018.11, diode array | LC, UV diode array detection | 504.02
| HM19NOV-2 |  |  | Dry Weight | CBDA |  |  |  | %DW | AOAC 2018.11, mass spec | LC, mass spec detection | 504.03
| HM19NOV-2 |  |  | Dry Weight | CBDA |  |  |  | %DW | LC-UV, other | other LC, UV detection | 504.10
| HM19NOV-2 |  |  | Dry Weight | CBDA |  |  |  | %DW | LC-MS, other | other LC, mass spec detection | 504.30
| HM19NOV-2 |  |  | Dry Weight | CBDA |  |  |  | %DW | Other |  | 504.99
| HM19NOV-2 |  |  | Dry Weight | CBN |  |  |  | %DW | AOAC 2018.10 | LC, UV detection | 505.01
| HM19NOV-2 |  |  | Dry Weight | CBN |  |  |  | %DW | AOAC 2018.11, diode array | LC, UV diode array detection | 505.02
| HM19NOV-2 |  |  | Dry Weight | CBN |  |  |  | %DW | AOAC 2018.11, mass spec | LC, mass spec detection | 505.03
| HM19NOV-2 |  |  | Dry Weight | CBN |  |  |  | %DW | LC-UV, other | other LC, UV detection | 505.10
| HM19NOV-2 |  |  | Dry Weight | CBN |  |  |  | %DW | LC-MS, other | other LC, mass spec detection | 505.20
| HM19NOV-2 |  |  | Dry Weight | CBN |  |  |  | %DW | GC-FID | GC, flame ionization detection | 505.30
| HM19NOV-2 |  |  | Dry Weight | CBN |  |  |  | %DW | GC-MS | GC, mass spec detection | 505.40
| HM19NOV-2 |  |  | Dry Weight | CBN |  |  |  | %DW | Other |  | 505.99
Total refers to | HM19NOV-2 |  |  | Dry Weight | Total ∆9-THC |  |  |  | %DW | AOAC 2018.10 | LC, UV detection, %∆9-THC+(%∆9-THCA x 0.877) | 506.01
sum of acid and | HM19NOV-2 |  |  | Dry Weight | Total ∆9-THC |  |  |  | %DW | AOAC 2018.11, diode array | LC, UV diode array detection, %∆9-THC+(%∆9-THCA x 0.877) | 506.02
neutral forms using | HM19NOV-2 |  |  | Dry Weight | Total ∆9-THC |  |  |  | %DW | AOAC 2018.11, mass spec | LC, mass spec detection, %∆9-THC+(%∆9-THCA x 0.877) | 506.03
formula in the | HM19NOV-2 |  |  | Dry Weight | Total ∆9-THC |  |  |  | %DW | LC-UV, other | other LC, UV detection, %∆9-THC+(%∆9-THCA x 0.877) | 506.10
description. | HM19NOV-2 |  |  | Dry Weight | Total ∆9-THC |  |  |  | %DW | LC-MS, other | other LC, mass spec detection, %∆9-THC+(%∆9-THCA x 0.877) | 506.30
| HM19NOV-2 |  |  | Dry Weight | Total ∆9-THC |  |  |  | %DW | GC-FID | GC, flame ionization detection | 506.40
| HM19NOV-2 |  |  | Dry Weight | Total ∆9-THC |  |  |  | %DW | GC-MS | GC, mass spec detection | 506.50
| HM19NOV-2 |  |  | Dry Weight | Total ∆9-THC |  |  |  | %DW | Other |  | 506.99
Total refers to | HM19NOV-2 |  |  | Dry Weight | Total CBD |  |  |  | %DW | AOAC 2018.10 | LC, UV detection, %CBD+(%CBDA x 0.877) | 507.01
sum of acid and | HM19NOV-2 |  |  | Dry Weight | Total CBD |  |  |  | %DW | AOAC 2018.11, diode array | LC, UV diode array detection, %CBD+(%CBDA x 0.877) | 507.02
neutral forms using | HM19NOV-2 |  |  | Dry Weight | Total CBD |  |  |  | %DW | AOAC 2018.11, mass spec | LC, mass spec detection, %CBD+(%CBDA x 0.877) | 507.03
formula in the | HM19NOV-2 |  |  | Dry Weight | Total CBD |  |  |  | %DW | LC-UV, other | other LC, UV detection, %CBD+(%CBDA x 0.877) | 507.10
description. | HM19NOV-2 |  |  | Dry Weight | Total CBD |  |  |  | %DW | LC-MS, other | other LC, mass spec detection, %CBD+(%CBDA x 0.877) | 507.30
| HM19NOV-2 |  |  | Dry Weight | Total CBD |  |  |  | %DW | GC-FID | GC, flame ionization detection | 507.40
| HM19NOV-2 |  |  | Dry Weight | Total CBD |  |  |  | %DW | GC-MS | GC, mass spec detection | 507.50
| HM19NOV-2 |  |  | Dry Weight | Total CBD |  |  |  | %DW | Other |  | 507.99

## Uncertainty
Measurement Uncertainty
Measurement Uncertainty is an estimate of measurement error considering both precision and trueness.
Precision is how well your replicate analyses agree with one another. Trueness is how well an average
of your replicate analyses agree with a reference quantity value. Random error affects precision.
Systematic errors affect trueness.
Measurement uncertainty should be expressed as expanded measurement uncertainty, U, which provides a
range where you are confident the result lies at a 95% confidence level.
Good documents explaining how to determine measurement uncertainty are shown below.
ISO 11352:2012(E). Water Quality-Estimation of measurment uncertainty based on validation and quality
control data. Geneva, Switzerland.
B. Magnusson, T. Nayhhiu, H. Hovind, M. Krysell, E. Sahlin, Handbook for calculation of measurement
uncertainty in environmental laboratories, Nordtest Report TR537 (ed. 4) 2017. Available from
www.nordtest.info.

## misc
yes
no